## Sheet1
Meter Type | Meter | Suplier | Meter Connection |  |  | Meter Constants |  |  | Class of Accuracy |  | Nominal Values |  |  | Test Points - E1 | Test Points - E2 | Test Points - Dial Test Solar | Phase Angles | Line - [ % Ib ] | Error Calculation |  | Test Method |  | Test point Duration |  | Error Limit [%] | Test Procedures |  |  |  | Meter Codes
DC - L&G 1P2W 10A 1 WH/P | L&G U1200 / U1300 10/100 Amp Direct Connect | Landis & Gyr | Direct |  |  | Constant | 1 | Wh/ pulse | P | 1% | Ub: | 240 | V | LG 1P2W 10% UPF | LG 1P2W 10% UPF (E2) |  | cos 1 Lag | I3 - 10 | TK | 5 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | LG 1P2W 20% 0.5 PF | LG 1P2W 20% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 20 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | LG 1P2W 100% 0.5 PF | LG 1P2W 100% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 100 | TK | 30 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | LG 1P2W 100% UPF | LG 1P2W 100% UPF (E2) |  | cos 1 Lag | I3 - 100 | TK | 30 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | LG 1P2W Dial Test 0.5 kWh |  |  | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 | DC - L&G 1P2W 10A (E1) |  |  |  | 10ml/011 | 11ml/C11 | 11ml/S11
[15 empty] | LG 1P2W Dial Test 0.5 kWh (E2) |  | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 |  | DC - L&G 1P2W 10A (E1 & E2) |  |  | 12ml/A22
[16 empty] | LG 1P2W Dial Test 0.5 kWh Solar | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 |  |  | DC - L&G 1P2W 10A (E1 with Solar) |  | 10ml/031
[29 empty] | DC - L&G 1P2W 10A (E1 & E2 with Solar) | 12ml/A42 |  | 12ml/S42
[14 empty] | Total: 5 | Total: 5 | Total: 1 | [9 empty] | TP: 5 | TP: 10 | TP: 6 | TP: 11
DC - L&G 2P3W 10A 1 W/H/P | L&G U3300 2P3W 10/100 Amp Direct Connect | Landis & Gyr | Direct |  |  | Constant | 1 | Wh/ pulse | P | 1% | Ub: | 240 | V | LG 2P3W 10% UPF |  |  | cos 1 Lag | I1 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | LG 2P3W 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I3 - 20 | TK | 15 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | LG 2P3W 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I3 - 100 | TK | 60 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | LG 2P3W 100% UPF |  |  | cos 1 Lag | I1 - 100 & I3 - 100 | TK | 55 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | LG 2P3W Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 | DC - L&G 2P3W 10A (E1) |  |  |  | 30ml/011 | 31ml/C11 | 31ml/S11
[16 empty] | LG 2P3W Dial Test 1 kWh Solar | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - L&G 2P3W 10A (E1 with Solar) |  | 30ml/031
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
DC - L&G 3P4W 10A 1 WH/P | L&G U3300 3P4W 10/100 Amp Direct Connect | Landis & Gyr | Direct |  |  | Constant | 1 | Wh/ pulse | P | 1% | Ub: | 240 | V | LG 3P4W 10% UPF |  |  | cos 1 Lag | I1 - 10 & I2 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | LG 3P4W 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I2 - 20 & I3 - 20 | TK | 20 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | LG 3P4W 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 90 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | LG 3P4W 100% UPF |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 80 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | LG 3P4W Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 | DC - L&G 3P4W 10A (E1) |  |  |  | 30ml/011 | 31ml/C11 | 31ml/S11
[16 empty] | LG 3P4W Dial Test 1 kWh Solar | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - L&G 3P4W 10A (E1 with Solar) |  | 30ml/031 | 31ml/C31
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
DC - L&G 2P 480V 10A 1 WH/P | L&G U3300 1P3W 480V 10/100 Amp D/C - SWER | Landis & Gyr | Direct |  |  | Constant | 1 | Wh/ pulse | P | 1% | Ub: | 240 | V | LG 2P 480V 10% UPF |  |  | cos 1 Lag | I1 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | LG 2P 480V 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I3 - 20 | TK | 15 | Error Measurement | 0 Delay | 1 |  | 1
2P3W Calsoft procedure | 3P4W meter base | [9 empty] | f: | 50 | Hz | LG 2P 480V 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I3 - 100 | TK | 60 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | LG 2P 480V 100% UPF |  |  | cos 1 Lag | I1 - 100 & I3 - 100 | TK | 55 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | LG 2P 480V Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 | DC - L&G 2P 480V 10A (E1) |  |  |  | 30ml/011 | 31ml/C11 | 31ml/S11
[16 empty] | LG 2P 480V Dial Test 1 kWh Solar | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - L&G 2P 480V 10A (E1 with Solar) |  | 30ml/031
[26 empty] | TP: 5 |  | TP:6
DC - Secure 1P2W 10A 3200 P/KWH | Secure iCredit 500 10/100 Amp Direct Connect | Secure | Direct |  |  | Constant | 3200 | Pulse / kWh | P | 1% | Ub: | 240 | V | Secure 1P2W 10% UPF | Secure 1P2W 10% UPF (E2) |  | cos 1 Lag | I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | Secure 1P2W 20% 0.5 PF | Secure 1P2W 20% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 20 | TK | 20 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | Secure 1P2W 100% 0.5 PF | Secure 1P2W 100% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 100 | TK | 100 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | Secure 1P2W 100% UPF | Secure 1P2W 100% UPF (E2) |  | cos 1 Lag | I3 - 100 | TK | 90 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | Secure 1P2W Dial Test 0.5 kWh |  |  | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 | DC - Secure 1P2W 10A (E1) |  |  |  | 10mp/011 | 11mp/C11 | 11mp/S11
[15 empty] | Secure 1P2W Dial Test 0.5 kWh (E2) |  | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 |  | DC - Secure 1P2W 10A (E1 & E2) |  |  | 12mp/A22
[16 empty] | Secure 1P2W Dial Test 0.5 kWh Solar | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 |  |  | DC - Secure 1P2W 10A (E1 with Solar) |  | 10mp/031
[14 empty] | Total: 5 | Total: 5 | Total: 1 | [12 empty] | DC - Secure 1P2W 10A (E1 & E2 with Solar) | 12mp/A42 |  | 12mp/A42
DC - DLMS Secure 1P2W 10A 1000 P/KWH | Secure iCredit 510 10/100 Amp Direct Connect | Secure | Direct |  |  | Constant | 1000 | Pulse / kWh | P | 1% | Ub: | 240 | V | Secure 1P2W 10% UPF | Secure 1P2W 10% UPF (E2) |  | cos 1 Lag | I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | Secure 1P2W 20% 0.5 PF | Secure 1P2W 20% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 20 | TK | 20 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | Secure 1P2W 100% 0.5 PF | Secure 1P2W 100% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 100 | TK | 100 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | Secure 1P2W 100% UPF | Secure 1P2W 100% UPF (E2) |  | cos 1 Lag | I3 - 100 | TK | 90 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | Secure 1P2W Dial Test 0.5 kWh |  |  | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 | DC - DLMS Secure 1P2W 10A (E1) |  |  |  | 10mp/011 | 11mp/C11 | 11mp/S11
[15 empty] | Secure 1P2W Dial Test 0.5 kWh (E2) |  | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 |  | DC - DLMS Secure 1P2W 10A (E1 & E2) |  |  | 12mp/A22
[16 empty] | Secure 1P2W Dial Test 0.5 kWh Solar | cos 1 Lag | I3 - 150 |  |  | Counter Test | P+ |  | 0.5 | 5 |  |  | DC - DLMS Secure 1P2W 10A (E1 with Solar) |  | 10mp/031
[29 empty] | DC - DLMS Secure 1P2W 10A (E1 & E2 with Solar) | 12mp/A42 |  | 12mp/A42
[14 empty] | Total: 5 | Total: 5 | Total: 1 | [9 empty] | TP: 5 | TP: 10 | TP: 6 | TP: 11
DC - DLMS Secure 2P3W 10A 1000 P/KWH | Secure Sprint 210 2P3W (3P4W) 10/100 Amp Direct Connect | Secure | Direct |  |  | Constant | 1000 | Pulse / kWh | P | 1% | Ub: | 240 | V | DLMS Secure 2P3W 10% UPF |  |  | cos 1 Lag | I1 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | DLMS Secure 2P3W 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I3 - 20 | TK | 15 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | DLMS Secure 2P3W 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I3 - 100 | TK | 60 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | DLMS Secure 2P3W 100% UPF |  |  | cos 1 Lag | I1 - 100 & I3 - 100 | TK | 55 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | DLMS Secure 2P3W Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 | DC - DLMS Secure 2P3W 10A (E1) |  |  |  | 30mp/011 | 31mp/C11 | 31mp/S11
[16 empty] | DLMS Secure 2P3W Dial Test 1 kWh Solar | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - DLMS Secure 2P3W 10A (E1 with Solar) |  | 30mp/031
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
DC - DLMS Secure 3P4W 10A 1000 P/KWH | Secure Sprint 210 3P4W 10/100 Amp Direct Connect | Secure | Direct |  |  | Constant | 1000 | Pulse / kWh | P | 1% | Ub: | 240 | V | DLMS Secure 3P4W 10% UPF |  |  | cos 1 Lag | I1 - 10 & I2 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | DLMS Secure 3P4W 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I2 - 20 & I3 - 20 | TK | 20 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | DLMS Secure 3P4W 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 90 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | DLMS Secure 3P4W 100% UPF |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 80 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | DLMS Secure 3P4W Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 | DC - DLMS Secure 3P4W 10A (E1) |  |  |  | 30mp/011 | 31mp/C11 | 31mp/S11
[16 empty] | DLMS Secure 3P4W Dial Test 1 kWh Solar | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - DLMS Secure 3P4W 10A (E1 with Solar) |  | 30mp/031
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
DC - DLMS Secure 2P 480V 10A 1000 P/kWH | Secure Sprint 210 1P3W 480V 10/100 Amp Direct Connect - SWER | Secure | Direct |  |  | Constant | 1000 | Pulse / kWh | P | 1% | Ub: | 240 | V | DLMS Secure 2P 480V 10% UPF |  |  | cos 1 Lag | I1 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 10 | A | DLMS Secure 2P 480V 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I3 - 20 | TK | 15 | Error Measurement | 0 Delay | 1 |  | 1
2P3W Calsoft procedure | 3P4W meter base | [9 empty] | f: | 50 | Hz | DLMS Secure 2P 480V 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I3 - 100 | TK | 60 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | DLMS Secure 2P 480V 100% UPF |  |  | cos 1 Lag | I1 - 100 & I3 - 100 | TK | 55 | Error Measurement | 0 Delay | 1 |  | 1 | DC - DLMS Secure 2P 480V 10A (E1)
[14 empty] | DLMS Secure 2P 480V Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - DLMS Secure 2P 480V 10A (E1 with Solar) |  | 30mp/011 | 31mp/C11 | 31mp/S11
[16 empty] | DLMS Secure 2P 480V Dial Test 1 kWh Solar | cos 1 Lag | I1 - 150 & I3 - 150 |  |  | Counter Test | P+ |  | 1 | 5 |  |  |  |  | 30mp/031
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
DC - Secure 1P2W 15A 3200 P/KWH | Secure iCredit 500 15/100 Amp Direct Connect | Secure | Direct |  |  | Constant | 3200 | Pulse / kWh | P | 1% | Ub: | 240 | V | Secure 1P2W 15A 10% UPF | Secure 1P2W 15A 10% UPF (E2) |  | cos 1 Lag | I3 - 10 | TK | 15 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 15 | A | Secure 1P2W 15A 20% 0.5 PF | Secure 1P2W 15A 20% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 20 | TK | 30 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | Secure 1P2W 15A 100% 0.5 PF | Secure 1P2W 15A 100% 0.5 PF (E2) |  | cos 0.5 Lag | I3 - 100 | TK | 145 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | Secure 1P2W 15A 100% UPF | Secure 1P2W 15A 100% UPF (E2) |  | cos 1 Lag | I3 - 100 | TK | 130 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | Secure 1P2W 15A Dial Test 0.5 kWh |  |  | cos 1 Lag | I3 - 100 |  |  | Counter Test | P+ |  | 0.5 | 5 | DC - Secure 1P2W 15A (E1) |  |  |  | 10mp/011 | 11mp/C11 | 11mp/S11
[15 empty] | Secure 1P2W 15A Dial Test 0.5 kWh (E2) |  | cos 1 Lag | I3 - 100 |  |  | Counter Test | P+ |  | 0.5 | 5 |  | DC - Secure 1P2W 15A (E1 & E2) |  |  | 12mp/A22
[16 empty] | Secure 1P2W 15A Dial Test 0.5 kWh Solar | cos 1 Lag | I3 - 100 |  |  | Counter Test | P+ |  | 0.5 | 5 |  |  | DC - Secure 1P2W 15A (E1 with Solar) |  | 10mp/031
[29 empty] | DC - Secure 1P2W 15A (E1 & E2 with Solar) | 12mp/A42 |  | 12mp/A42
[14 empty] | Total: 5 | Total: 5 | Total: 1 | [9 empty] | TP: 5 | TP: 10 | TP: 6 | TP: 11
DC - Secure 2P3W 15A 800 P/KWH | Secure Sprint 200 2P3W (3P4W) 15/100 Amp Direct Connect | Secure | Direct |  |  | Constant | 800 | Pulse / kWh | P | 1% | Ub: | 240 | V | Secure 2P3W 10% UPF |  |  | cos 1 Lag | I1 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 15 | A | Secure 2P3W 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I3 - 20 | TK | 15 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | Secure 2P3W 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I3 - 100 | TK | 75 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | Secure 2P3W 100% UPF |  |  | cos 1 Lag | I1 - 100 & I3 - 100 | TK | 65 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | Secure 2P3W Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 | DC - Secure 2P3W 15A (E1) |  |  |  | 30mp/011 | 31mp/C11 | 31mp/S11
[16 empty] | Secure 2P3W Dial Test 1 kWh Solar | cos 1 Lag | I1 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - Secure 2P3W 15A (E1 with Solar) |  | 30mp/031
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
DC - Secure 3P4W 15A 800 P/KWH | Secure Sprint 200 3P4W 15/100 Amp Direct Connect | Secure | Direct |  |  | Constant | 800 | Pulse / kWh | P | 1% | Ub: | 240 | V | Secure 3P4W 10% UPF |  |  | cos 1 Lag | I1 - 10 & I2 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 15 | A | Secure 3P4W 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I2 - 20 & I3 - 20 | TK | 25 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | f: | 50 | Hz | Secure 3P4W 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 110 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | Secure 3P4W 100% UPF |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 100 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | Secure 3P4W Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 | DC - Secure 3P4W 15A (E1) |  |  |  | 30mp/011 | 31mp/C11 | 31mp/S11
[16 empty] | Secure 3P4W Dial Test 1 kWh Solar | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - Secure 3P4W 15A (E1 with Solar) |  | 30mp/031
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
DC - Secure 2P 480V 15A 800 P/kWH | Secure Sprint 200 1P3W 480V 15/100 Amp Direct Connect - SWER | Secure | Direct |  |  | Constant | 800 | Pulse / kWh | P | 1% | Ub: | 240 | V | Secure 2P 480V 10% UPF |  |  | cos 1 Lag | I1 - 10 & I3 - 10 | TK | 10 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Ib: | 15 | A | Secure 2P 480V 20% 0.5 PF |  |  | cos 0.5 Lag | I1 - 20 & I3 - 20 | TK | 15 | Error Measurement | 0 Delay | 1 |  | 1
2P3W Calsoft procedure | 3P4W meter base | [9 empty] | f: | 50 | Hz | Secure 2P 480V 100% 0.5 PF |  |  | cos 0.5 Lag | I1 - 100 & I3 - 100 | TK | 75 | Error Measurement | 0 Delay | 1 |  | 1
[11 empty] | Im: | 100 | A | Secure 2P 480V 100% UPF |  |  | cos 1 Lag | I1 - 100 & I3 - 100 | TK | 65 | Error Measurement | 0 Delay | 1 |  | 1
[14 empty] | Secure 2P 480V Dial Test 1 kWh |  |  | cos 1 Lag | I1 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 | DC - Secure 2P 480V 15A (E1) |  |  |  | 30mp/011 | 31mp/C11 | 31mp/S11
[16 empty] | Secure 2P 480V Dial Test 1 kWh Solar | cos 1 Lag | I1 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 1 | 5 |  |  | DC - Secure 2P 480V 15A (E1 with Solar) |  | 30mp/031
[14 empty] | Total: 5 |  | Total: 1 | [9 empty] | TP: 5 |  | TP: 6
CT - L&G 3P4W 5A 0.2 WH/P | L&G U3350 (3P4W) 5/15 Amp CT | Landis & Gyr | CT | I' 5A | I" 5.0A | Constant | 0.2 | Wh/ pulse | P | 0.5% | Ub: | 240 | V | CT LG 10% 0.866 PF |  |  | cos 0.866 lag | I1 - 10 & I2 - 10 & I3 - 10 | TK | 40 | Error Measurement | 0 Delay | 1 |  | 0.5
[11 empty] | Ib: | 5 | A | CT LG 10% UPF |  |  | cos 1 Lag | I1 - 10 & I2 - 10 & I3 - 10 | TK | 20 | Error Measurement | 0 Delay | 1 |  | 0.5
[11 empty] | f: | 50 | Hz | CT LG 50% 0.5 PF |  |  | cos 0.5 Lag | I1 - 50 & I2 - 50 & I3 - 50 | TK | 115 | Error Measurement | 0 Delay | 1 |  | 0.5
[11 empty] | Im: | 15 | A | CT LG 50% 0.866 PF |  |  | cos 0.866 lag | I1 - 50 & I2 - 50 & I3 - 50 | TK | 200 | Error Measurement | 0 Delay | 1 |  | 0.5
[14 empty] | CT LG 50% UPF |  |  | cos 1 Lag | I1 - 50 & I2 - 50 & I3 - 50 | TK | 100 | Error Measurement | 0 Delay | 1 |  | 0.5
[14 empty] | CT LG 100% 0.866 PF |  |  | cos 0.866 lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 400 | Error Measurement | 0 Delay | 1 |  | 0.5
CT - L&G 1P2W 5A 0.2 WH/P | L&G U3350 (1P2W) 5/15 Amp CT | [12 empty] | CT LG 100% UPF |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 200 | Error Measurement | 0 Delay | 1 |  | 0.5
CT - L&G 2P3W 5A 0.2 WH/P | L&G U3350 (2P3W) 5/15 Amp CT | [12 empty] | CT LG Dial Test 0.2 kWh |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 0.2 | 5 | CT - L&G 3P4W 5A (E1) |  |  |  | C0ml/E63
CT - L&G 2P 480V 5A 0.2 WH/P | L&G U3350 5/15 Amp CT - SWER | [12 empty] | (3P4W), (2P3W), (1P2W) & (2P 480V) |  | CT LG (3P4W) Dial Test 0.2 kWh Solar | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 0.2 | 5 |  |  | CT - L&G 3P4W 5A (E1 with Solar) |  | C0ml/E83
2P3W Calsoft procedure | 3P4W meter base | [12 empty] | Total: 8 |  | Total: 1 | [9 empty] | TP: 8 |  | TP: 9
CT - Secure 3P4W 5A 4000 P/KWH | Secure Premier 200 (3P4W) 5/15 Amp CT | Secure | CT | I' 5A | I" 5.0A | Constant | 4000 | Pulse / kWh | P | 0.5% | Ub: | 240 | V | CT Secure 10% 0.866 PF |  |  | cos 0.866 lag | I1 - 10 & I2 - 10 & I3 - 10 | TK | 30 | Error Measurement | 0 Delay | 1 |  | 0.5
[11 empty] | Ib: | 5 | A | CT Secure 10% UPF |  |  | cos 1 Lag | I1 - 10 & I2 - 10 & I3 - 10 | TK | 20 | Error Measurement | 0 Delay | 1 |  | 0.5
[11 empty] | f: | 50 | Hz | CT Secure 50% 0.5 PF |  |  | cos 0.5 Lag | I1 - 50 & I2 - 50 & I3 - 50 | TK | 90 | Error Measurement | 0 Delay | 1 |  | 0.5
[11 empty] | Im: | 15 | A | CT Secure 50% 0.866 PF |  |  | cos 0.866 lag | I1 - 50 & I2 - 50 & I3 - 50 | TK | 160 | Error Measurement | 0 Delay | 1 |  | 0.5
CT - Secure (1P2W) 5A 4000 P/KWH | Secure Premier 200 (1P2W) 5/15 Amp CT | [12 empty] | CT Secure 50% UPF |  |  | cos 1 Lag | I1 - 50 & I2 - 50 & I3 - 50 | TK | 80 | Error Measurement | 0 Delay | 1 |  | 0.5
CT - Secure (2P3W) 5A 4000 P/KWH | Secure Premier 200 (2P3W) 5/15 Amp CT | [12 empty] | CT Secure 100% 0.866 PF |  |  | cos 0.866 lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 315 | Error Measurement | 0 Delay | 1 |  | 0.5
CT - Secure 2P 480V 5A 4000 P/KWH | Secure Premier 200 5/15 Amp CT - SWER | [12 empty] | CT Secure 100% UPF |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 | TK | 160 | Error Measurement | 0 Delay | 1 |  | 0.5
CT - DLMS Secure 3P4W 5A 5000 P/KWH | Secure Premier 210 3P4W 5/15 Amp CT | DLMS Secure | CT | I' 5A | I" 5.0A | Constant | 5000 | Pulse / kWh | P | 0.5% | Ub: | 240 | V | CT Secure Dial Test 0.2 kWh |  |  | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 0.2 | 5 | CT - Secure 5A (E1) |  |  |  | C0mp/E63
CT - DLMS Secure (1P2W) 5A 5000 P/KWH | Secure Premier 210 (1P2W) 5/15 Amp CT | [9 empty] | Ib: | 5 | A |  |  | CT Secure Dial Test 0.2 kWh Solar | cos 1 Lag | I1 - 100 & I2 - 100 & I3 - 100 |  |  | Counter Test | P+ |  | 0.2 | 5 |  |  | CT - Secure 5A (E1 with Solar) |  | C0mp/E83
CT - DLMS Secure (2P3W) 5A 5000 P/KWH | Secure Premier 210 (2P3W) 5/15 Amp CT | [9 empty] | f: | 50 | Hz | (3P4W), (2P3W), (1P2W) & (2P 480V) | [11 empty] | (3P4W), (2P3W), (1P2W) & (2P 480V) |  | (3P4W), (2P3W), (1P2W) & (2P 480V)
CT - DLMS Secure 2P 480V 5A 5000 P/KWH | Secure Premier 210 5/15 Amp CT - SWER | [9 empty] | Im: | 15 | A | Total: 8 |  | Total: 1 | [9 empty] | TP: 8 |  | TP: 9
Meter Type | Meter | Procedures
DC - L&G 1P2W 10A 1 WH/P | L&G U1200 / U1300 10/100 Amp D/C | 4
DC - L&G 2P3W 10A 1 WH/P | L&G U3300 2P3W 10/100 Amp D/C | 2
DC - L&G 3P4W 10A 1 WH/P | L&G U3300 3P4W 10/100 Amp D/C | 2
DC - L&G 2P 480V 10A 1 WH/P | L&G U3300 1P3W 480V 10/100 Amp D/C - SWER | 2
DC - DLMS Secure 1P2W 10A 1000 P/KWH | Secure iCredit 510 10/100 Amp Direct Connect | 4
DC - DLMS Secure 2P3W 10A 1000 P/KWH | Secure Sprint 210 3P4W 10/100 Amp Direct Connect | 2
DC - DLMS Secure 3P4W 10A 1000 P/KWH | Secure Sprint 210 3P4W 10/100 Amp Direct Connect | 2
DC - DLMS Secure 2P 480V 10A 1000 P/kWH | Secure Sprint 210 1P3W 480V 10/100 Amp Direct Connect - SWER | 2
DC - Secure 1P2W 10A 3200 P/KWH | Secure iCredit 500 10/100 Amp Direct Connect | 4
DC - Secure 1P2W 15A 3200 P/KWH | Secure iCredit 500 15/100 Amp Direct Connect | 4
DC - Secure 2P3W 15A 800 P/KWH | Secure Sprint 200 3P4W 15/100 Amp Direct Connect | 2
DC - Secure 3P4W 15A 800 P/KWH | Secure Sprint 200 3P4W 15/100 Amp Direct Connect | 2
DC - Secure 2P 480V 15A 800 P/kWH | Secure Sprint 200 1P3W 480V 15/100 Amp Direct Connect - SWER | 2
CT - L&G 1P2W 5A 0.2 WH/P | L&G U3350 5/15 Amp CT | 2
CT - L&G 2P3W 5A 0.2 WH/P | L&G U3350 5/15 Amp CT | 2
CT - L&G 3P4W 5A 0.2 WH/P | L&G U3350 5/15 Amp CT | 2
CT - L&G 2P 480V 5A 0.2 WH/P | L&G U3350 5/15 Amp CT - SWER | 2
CT - Secure 1P2W 5A 4000 P/KWH | Secure Premier 200 5/15 Amp CT | 2
CT - Secure 2P3W 5A 4000 P/KWH | Secure Premier 200 5/15 Amp CT | 2
CT - Secure 3P4W 5A 4000 P/KWH | Secure Premier 200 5/15 Amp CT | 2
CT - Secure 2P 480V 5A 4000 P/KWH | Secure Premier 200 5/15 Amp CT - SWER | 2
CT - DLMS Secure (1P2W) 5A 5000 P/KWH | Secure Premier 210 5/15 Amp CT | 2
CT - DLMS Secure (2P3W) 5A 5000 P/KWH | Secure Premier 210 5/15 Amp CT | 2
CT - DLMS Secure 3P4W 5A 5000 P/KWH | Secure Premier 210 5/15 Amp CT | 2
CT - DLMS Secure 2P 480V 5A 5000 P/KWH | Secure DLMS Premier 210 5/15 Amp CT - SWER | 2
25 Test Meters | 179 Test Points | 58 Test Procedures