## Sheet1
Parameter | 67105 | 61815
Voltage | 0 to 150V / 0 to 300V | 0-350V
Freq | 15 to 1.2kHz | DC, 30 Hz- 100Hz
Power | 12 kVA | 15 KVA
Accuracy | 0.2%+0.2%F.S. | 0.1%+0.2%F.S.
Resolution | 0.1V | 0.1V
Distortion | 0.3%@50/60Hz 1.5% @ 15 to 1.2kHz | <0.5%@50/60Hz <0.8% @ 30 to 100Hz
Max. Current (per phase)
RMS | 32A/20A | 105 A
Peak | 192A/96A | 315 A
Basic parameters and ranges are almost same but little better
Advantage of 61815 is it is Regenrative Grid Simulator.
Simulates Power line interruption, and distorted waveform.
Provide harmonic measurement upto 50 order