## U1300-10ML
1 | 2 | 3 | 4 | 5 | 6 | 1 | 2 | 3 | 4 | 5 | 6
U1300 Configuration Developer | [5 empty] | U1300 Configuration Developer | [5 empty] | TRUE
TRUE
Identification | [5 empty] | Identification | [5 empty] | TRUE
TRUE
Program File ID | 10ML0C1-001 |  |  |  |  | Program File ID | 000L1C2-V01 |  |  |  |  | FALSE
TRUE
TimeZone | [5 empty] | TimeZone | [5 empty] | TRUE
TRUE
Time Zone | (UTC+10:00) Canberra, Melbourne, Sydney |  |  |  |  | Time Zone | (UTC+10:00) Canberra, Melbourne, Sydney |  |  |  |  | TRUE
TRUE
Options | [5 empty] | Options | [5 empty] | TRUE
TRUE
Reset Password Lockout On Power Fail | TRUE |  |  |  |  | Reset Password Lockout On Power Fail | TRUE |  |  |  |  | TRUE
Enable Optical Priority | TRUE |  |  |  |  | Enable Optical Priority | TRUE |  |  |  |  | TRUE
Use Crystal for Time Keeping | TRUE |  |  |  |  | Use Crystal for Time Keeping | TRUE |  |  |  |  | TRUE
Metering Type | Net Metering |  |  |  |  | Metering Type | Net Metering |  |  |  |  | TRUE
Tamper Event Grace Period (minutes) | 0 |  |  |  |  | Tamper Event Grace Period (minutes) | 0 |  |  |  |  | TRUE
Memory | Extended 1 |  |  |  |  | Memory | Extended 1 |  |  |  |  | TRUE
TRUE
Registers | [5 empty] | Registers | [5 empty] | TRUE
TRUE
Number of Rates | [5 empty] | Number of Rates | [5 empty] | TRUE
TRUE
Number of Rates | 6 |  |  |  |  | Number of Rates | 1 |  |  |  |  | FALSE
TRUE
Energy Registers | [5 empty] | Energy Registers | [5 empty] | TRUE
TRUE
Register | Description |  |  |  |  | Register | Description |  |  |  |  | TRUE
Register 1 | kWh Imported Element 1 |  |  |  |  | Register 1 | kWh Imported Total |  |  |  |  | FALSE
Register 2 | kWh Imported Total |  |  |  |  | Register 2 | kWh Exported Total |  |  |  |  | FALSE
Register 3 | kWh Exported Element 1 | [10 empty] | FALSE
Register 4 | kWh Exported Total | [10 empty] | FALSE
Register 5 | kVARh Imported Total(Q1+Q2) | [10 empty] | FALSE
Register 6 | kVARh Exported Total(Q3+Q4) | [10 empty] | FALSE
TRUE
Export Wh Warning Levels | [5 empty] | Export Wh Warning Levels | [5 empty] | TRUE
TRUE
Description | Value |  |  |  |  | Description | Value |  |  |  |  | TRUE
Element 1 | 0 |  |  |  |  | Element 1 | 0 |  |  |  |  | TRUE
Element 2 | 0 |  |  |  |  | Element 2 | 0 |  |  |  |  | TRUE
TRUE
Demand | [5 empty] | Demand | [5 empty] | TRUE
TRUE
Number of demand registers is zero. | [5 empty] | Number of demand registers is zero. | [5 empty] | TRUE
TRUE
TOU Settings | [5 empty] | TOU Settings | [5 empty] | TRUE
TRUE
Switch Times | [5 empty] | Switch Times | [5 empty] | TRUE
TRUE
Season No. | Day Type | Time | Rate |  |  | Season No. | Day Type | Time | Rate |  |  | TRUE
TRUE
Recurring Dates | [5 empty] | Recurring Dates | [5 empty] | TRUE
TRUE
Month | Day | Offset | Day Of Week | Action | Prev Period Read | Month | Day | Offset | Day Of Week | Action | Prev Period Read | TRUE
TRUE
Non-recurring Dates | [5 empty] | Non-recurring Dates | [5 empty] | TRUE
TRUE
Date | Action | Prev Period Read |  |  |  | Date | Action | Prev Period Read |  |  |  | TRUE
TRUE
Load Profile Configuration | [5 empty] | Load Profile Configuration | [5 empty] | TRUE
TRUE
Number Of Groups | 1 |  |  |  |  | Number Of Groups | 1 |  |  |  |  | TRUE
TRUE
LP Group 1 | Load Profile Channel Description |  |  |  |  | LP Group 1 | Load Profile Channel Description |  |  |  |  | TRUE
Channel 1 | kWh Imported Total |  |  |  |  | Channel 1 | kWh Imported Total |  |  |  |  | TRUE
Channel 2 | kWh Exported Total |  |  |  |  | Channel 2 | kWh Exported Total |  |  |  |  | TRUE
Interval minutes | 5 Min |  |  |  |  | Interval minutes | 5 Min |  |  |  |  | TRUE
Storage Days | 401 |  |  |  |  | Storage Days | 401 |  |  |  |  | TRUE
TRUE
Quality of Supply Configuration | [5 empty] | Quality of Supply Configuration | [5 empty] | TRUE
TRUE
QoS Group | Description | Breach Time (Seconds) | Min | Max | Max Events | QoS Group | Description | Breach Time (Seconds) | Min | Max | Max Events | TRUE
Channel 1 | Voltage | 60 | 207 | 259 | 100 | Channel 1 | Voltage | 60 | 207 | 259 | 100 | TRUE
Channel 2 | Voltage | 60 | 216 | 253 | 100 | Channel 2 | Voltage | 60 | 216 | 253 | 100 | TRUE
Channel 3 | Current E1 | 60 | -40 | 100 | 100 | Channel 3 | Current E1 | 60 | -40 | 100 | 100 | TRUE
TRUE
Display Settings | [5 empty] | Display Settings | [5 empty] | TRUE
TRUE
Energy Decimal Places | 1 |  |  |  |  | Energy Decimal Places | 1 |  |  |  |  | TRUE
Suppress Leading Zeroes | TRUE |  |  |  |  | Suppress Leading Zeroes | TRUE |  |  |  |  | TRUE
No. of Energy Digits | 6 |  |  |  |  | No. of Energy Digits | 6 |  |  |  |  | TRUE
TRUE
Display Groups | [5 empty] | Display Groups | [5 empty] | TRUE
TRUE
Normal Display List | [5 empty] | Normal Display List | [5 empty] | TRUE
Scroll Time [Secs] 5 | [5 empty] | Scroll Time [Secs] 5 | [5 empty] | TRUE
Display ID | Description |  |  |  |  | Display ID | Description |  |  |  |  | TRUE
1 | Time(hh:mm ss) |  |  |  |  | 88 | Display Test |  |  |  |  | FALSE
2 | Date |  |  |  |  | 1 | Date |  |  |  |  | FALSE
3 | kWh Imported Total |  |  |  |  | 2 | Time(hh:mm ss) |  |  |  |  | FALSE
5 | kWh Exported Total |  |  |  |  | 3 | kWh Imported Total |  |  |  |  | FALSE
7 | kWh Imported Element 2 |  |  |  |  | 13 | kWh Exported Total |  |  |  |  | FALSE
88 | Display Test |  |  |  |  | 60 | Standard Meter Status |  |  |  |  | FALSE
[6 empty] | 62 | Manufacturer Meter Status |  |  |  |  | #REF!
TRUE
Alternative 1 Display List | [5 empty] | Alternative 1 Display List | [5 empty] | TRUE
Scroll Time [Secs] 5 | [5 empty] | Scroll Time [Secs] 5 | [5 empty] | TRUE
Display ID | Description |  |  |  |  | Display ID | Description |  |  |  |  | TRUE
20 | Serial No First 7 |  |  |  |  | 20 | Serial No First 7 |  |  |  |  | TRUE
21 | Serial No Mid 7 |  |  |  |  | 21 | Serial No Mid 7 |  |  |  |  | TRUE
22 | Firmware Revision |  |  |  |  | 22 | Firmware Revision |  |  |  |  | TRUE
23 | Program File ID |  |  |  |  | 23 | Program File ID |  |  |  |  | TRUE
24 | Program File Version |  |  |  |  | 24 | Program File Version |  |  |  |  | TRUE
25 | Hardware Revision |  |  |  |  | 25 | Hardware Revision |  |  |  |  | TRUE
26 | Standard Meter Status |  |  |  |  | 26 | Standard Meter Status |  |  |  |  | TRUE
27 | Manufacturer Meter Status |  |  |  |  | 27 | Manufacturer Meter Status |  |  |  |  | TRUE
28 | Estimated % Battery Life Remaining |  |  |  |  | 28 | Estimated % Battery Life Remaining |  |  |  |  | TRUE
TRUE
Alternative 2 Display List | [5 empty] | Alternative 2 Display List | [5 empty] | TRUE
Scroll Time [Secs] 5 | [5 empty] | Scroll Time [Secs] 5 | [5 empty] | TRUE
Display ID | Description |  |  |  |  | Display ID | Description |  |  |  |  | TRUE
1 | Voltage |  |  |  |  | 1 | Voltage |  |  |  |  | TRUE
2 | Amps Element 1 |  |  |  |  | 2 | Amps Element 1 |  |  |  |  | TRUE
4 | Power Factor Total |  |  |  |  | 4 | Power Factor Total |  |  |  |  | TRUE
5 | Frequency |  |  |  |  | 5 | Frequency |  |  |  |  | TRUE
6 | Power Active Total |  |  |  |  | 6 | Power Active Total |  |  |  |  | TRUE
7 | Power Reactive Total |  |  |  |  | 7 | Power Reactive Total |  |  |  |  | TRUE
TRUE
Relay Settings | [5 empty] | Relay Settings | [5 empty] | TRUE
TRUE
Relay Present Mask Setting | [5 empty] | Relay Present Mask Setting | [5 empty] | TRUE
Breaker | TRUE |  |  |  |  | Breaker | TRUE |  |  |  |  | TRUE
Controlled Load L1 | FALSE |  |  |  |  | Controlled Load L1 | FALSE |  |  |  |  | TRUE
Controlled Load L2 | FALSE |  |  |  |  | Controlled Load L2 | FALSE |  |  |  |  | TRUE
Arm Setting | [5 empty] | Arm Setting | [5 empty] | TRUE
Connect Arm | FALSE |  |  |  |  | Connect Arm | FALSE |  |  |  |  | TRUE
Disconnect Arm | FALSE |  |  |  |  | Disconnect Arm | FALSE |  |  |  |  | TRUE
Randomisation Method | On Power Up |  |  |  |  | Randomisation Method | On Power Up |  |  |  |  | TRUE
TRUE
Breaker Arming Timeout | [5 empty] | Breaker Arming Timeout | [5 empty] | TRUE
TRUE
Timeout | 1 Hours |  |  |  |  | Timeout | 1 Hours |  |  |  |  | TRUE
TRUE
Group ID Setting | [5 empty] | Group ID Setting | [5 empty] | TRUE
TRUE
Primary Group ID | 20 |  |  |  |  | Primary Group ID | 1 |  |  |  |  | FALSE
Secondary Group ID | 200 |  |  |  |  | Secondary Group ID | 1 |  |  |  |  | FALSE
Tertiary Group ID | 200 |  |  |  |  | Tertiary Group ID | 1 |  |  |  |  | FALSE
TRUE
Normal Supply Capacity Control | [5 empty] | Normal Supply Capacity Control | [5 empty] | TRUE
TRUE
Normal Import Demand Duration [trading intervals] | 1 |  |  |  |  | Normal Import Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Normal Import Demand Limit [kW] | 0 |  |  |  |  | Normal Import Demand Limit [kW] | 0 |  |  |  |  | TRUE
Normal Export Demand Duration [trading intervals] | 1 |  |  |  |  | Normal Export Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Normal Export Demand Limit [kW] | 0 |  |  |  |  | Normal Export Demand Limit [kW] | 0 |  |  |  |  | TRUE
Normal Supply Reclose Delay [minutes] | 30 |  |  |  |  | Normal Supply Reclose Delay [minutes] | 30 |  |  |  |  | TRUE
TRUE
Emergency Supply Capacity Control | [5 empty] | Emergency Supply Capacity Control | [5 empty] | TRUE
TRUE
Emergency Demand Duration [minutes] | 5 |  |  |  |  | Emergency Demand Duration [minutes] | 5 |  |  |  |  | TRUE
Emergency Demand Limit [kW] | 0 |  |  |  |  | Emergency Demand Limit [kW] | 0 |  |  |  |  | TRUE
Emergency Supply Reclose Delay [minutes] | 15 |  |  |  |  | Emergency Supply Reclose Delay [minutes] | 15 |  |  |  |  | TRUE
TRUE
TOD Import Supply Capacity Control | [5 empty] | TOD Import Supply Capacity Control | [5 empty] | TRUE
TRUE
Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | TRUE
Monitoring Duration [minutes] | 5 |  |  |  |  | Monitoring Duration [minutes] | 5 |  |  |  |  | TRUE
Import Demand Duration [trading intervals] | 1 |  |  |  |  | Import Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Import Demand Limit [kW] | 0 |  |  |  |  | Import Demand Limit [kW] | 0 |  |  |  |  | TRUE
Reclose Delay [minutes] | 1 |  |  |  |  | Reclose Delay [minutes] | 1 |  |  |  |  | TRUE
TRUE
TOD Export Supply Capacity Control | [5 empty] | TOD Export Supply Capacity Control | [5 empty] | TRUE
TRUE
Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | TRUE
Monitoring Duration [minutes] | 5 |  |  |  |  | Monitoring Duration [minutes] | 5 |  |  |  |  | TRUE
Export Demand Duration [trading intervals] | 1 |  |  |  |  | Export Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Export Demand Limit [kW] | 0 |  |  |  |  | Export Demand Limit [kW] | 0 |  |  |  |  | TRUE
Reclose Delay [minutes] | 1 |  |  |  |  | Reclose Delay [minutes] | 1 |  |  |  |  | TRUE
TRUE
Supply Capacity Control Initial Settings | [5 empty] | Supply Capacity Control Initial Settings | [5 empty] | TRUE
TRUE
Enable Normal SCC | FALSE |  |  |  |  | Enable Normal SCC | FALSE |  |  |  |  | TRUE
Enable Emergency SCC | FALSE |  |  |  |  | Enable Emergency SCC | FALSE |  |  |  |  | TRUE
Enable TodImport SCC | FALSE |  |  |  |  | Enable TodImport SCC | FALSE |  |  |  |  | TRUE
Enable TodExport SCC | FALSE |  |  |  |  | Enable TodExport SCC | FALSE |  |  |  |  | TRUE
TRUE
Auto Disconnect | [5 empty] | Auto Disconnect | [5 empty] | TRUE
TRUE
Auto Disconnect Monitoring Period [seconds] | 5 |  |  |  |  | Auto Disconnect Monitoring Period [seconds] | 5 |  |  |  |  | TRUE
Auto Disconnect Demand Limit [W] | 20 |  |  |  |  | Auto Disconnect Demand Limit [W] | 20 |  |  |  |  | TRUE
Auto Disconnect Breach Time [seconds] | 3 |  |  |  |  | Auto Disconnect Breach Time [seconds] | 3 |  |  |  |  | TRUE
TRUE
Breaker Loss of Supply | [5 empty] | Breaker Loss of Supply | [5 empty] | TRUE
TRUE
Enable Loss of Supply | FALSE |  |  |  |  | Enable Loss of Supply | FALSE |  |  |  |  | TRUE
TRUE
Controlled Load - General | [5 empty] | Controlled Load - General | [5 empty] | TRUE
TRUE
| Ignore time table delay on power up | FALSE |  |  |  |  | Ignore time table delay on power up | FALSE |  |  |  | TRUE
TRUE
TRUE
Prepayment | [5 empty] | Prepayment | [5 empty] | TRUE
TRUE
Support Prepayment | FALSE |  |  |  |  | Support Prepayment | FALSE |  |  |  |  | TRUE
TRUE
Back End Communication | [5 empty] | Back End Communication | [5 empty] | TRUE
TRUE
Modem | Not configured |  |  |  |  | Modem | Not configured |  |  |  |  | TRUE
Modem Reset Type | None |  |  |  |  | Modem Reset Type | None |  |  |  |  | TRUE
TRUE
Event Settings | [5 empty] | Event Settings | [5 empty] | TRUE
TRUE
Event | Setting |  |  |  |  | Event | Setting |  |  |  |  | TRUE
Primary Power Down | Log Only |  |  |  |  | Primary Power Down | Log Only |  |  |  |  | TRUE
Primary Power Up | Log Only |  |  |  |  | Primary Power Up | Log Only |  |  |  |  | TRUE
Time Changed (old time used as time stamp) | Log Only |  |  |  |  | Time Changed (old time used as time stamp) | Log Only |  |  |  |  | TRUE
Time Changed (new time used as time stamp) | Log Only |  |  |  |  | Time Changed (new time used as time stamp) | Log Only |  |  |  |  | TRUE
Procedure Invoked | Log Only |  |  |  |  | Procedure Invoked | Log Only |  |  |  |  | TRUE
Table Written To | Log Only |  |  |  |  | Table Written To | Log Only |  |  |  |  | TRUE
Reset List Pointers | Log Only |  |  |  |  | Reset List Pointers | Log Only |  |  |  |  | TRUE
Event Log Cleared | Log Only |  |  |  |  | Event Log Cleared | Log Only |  |  |  |  | TRUE
Season Changed | Log Only |  |  |  |  | Season Changed | Log Only |  |  |  |  | TRUE
Special Schedule Activated | Log Only |  |  |  |  | Special Schedule Activated | Log Only |  |  |  |  | TRUE
Self check error detected | Log Only |  |  |  |  | Self check error detected | Log Only |  |  |  |  | TRUE
Non-volatile memory failure detected | Log Only |  |  |  |  | Non-volatile memory failure detected | Log Only |  |  |  |  | TRUE
Measurement error detected | Log Only |  |  |  |  | Measurement error detected | Log Only |  |  |  |  | TRUE
Low battery detected | Log Only |  |  |  |  | Low battery detected | Log Only |  |  |  |  | TRUE
Tamper attempt detected | Log Only |  |  |  |  | Tamper attempt detected | Log Only |  |  |  |  | TRUE
QOS threshold I breach start | Log Only |  |  |  |  | QOS threshold I breach start | Log Only |  |  |  |  | TRUE
QOS threshold I breach end | Log Only |  |  |  |  | QOS threshold I breach end | Log Only |  |  |  |  | TRUE
QOS threshold II breach start | Log Only |  |  |  |  | QOS threshold II breach start | Log Only |  |  |  |  | TRUE
QOS threshold II breach end | Log Only |  |  |  |  | QOS threshold II breach end | Log Only |  |  |  |  | TRUE
QOS threshold III breach start | Log Only |  |  |  |  | QOS threshold III breach start | Log Only |  |  |  |  | TRUE
QOS threshold III breach end | Log Only |  |  |  |  | QOS threshold III breach end | Log Only |  |  |  |  | TRUE
Element 1 export energy detected start | Log Only |  |  |  |  | Element 1 export energy detected start | Log Only |  |  |  |  | TRUE
Element 1 export energy detected end | Log Only |  |  |  |  | Element 1 export energy detected end | Log Only |  |  |  |  | TRUE
Element 2 export energy detected start | Log Only |  |  |  |  | Element 2 export energy detected start | Log Only |  |  |  |  | TRUE
Element 2 export energy detected end | Log Only |  |  |  |  | Element 2 export energy detected end | Log Only |  |  |  |  | TRUE
Service Disconnect open | Log Only |  |  |  |  | Service Disconnect open | Log Only |  |  |  |  | TRUE
Service Disconnect close | Log Only |  |  |  |  | Service Disconnect close | Log Only |  |  |  |  | TRUE
Service Disconnect armed for open | Log Only |  |  |  |  | Service Disconnect armed for open | Log Only |  |  |  |  | TRUE
Service Disconnect armed for close | Log Only |  |  |  |  | Service Disconnect armed for close | Log Only |  |  |  |  | TRUE
Controlled Load L1 open | Log Only |  |  |  |  | Controlled Load L1 open | Log Only |  |  |  |  | TRUE
Controlled Load L1 close | Log Only |  |  |  |  | Controlled Load L1 close | Log Only |  |  |  |  | TRUE
Controlled Load L2 open | Log Only |  |  |  |  | Controlled Load L2 open | Log Only |  |  |  |  | TRUE
Controlled Load L2 close | Log Only |  |  |  |  | Controlled Load L2 close | Log Only |  |  |  |  | TRUE
Primary group command accepted | Log Only |  |  |  |  | Primary group command accepted | Log Only |  |  |  |  | TRUE
Primary group command rejected | Log Only |  |  |  |  | Primary group command rejected | Log Only |  |  |  |  | TRUE
Secondary group command accepted | Log Only |  |  |  |  | Secondary group command accepted | Log Only |  |  |  |  | TRUE
Secondary group command rejected | Log Only |  |  |  |  | Secondary group command rejected | Log Only |  |  |  |  | TRUE
Tertiary group command accepted | Log Only |  |  |  |  | Tertiary group command accepted | Log Only |  |  |  |  | TRUE
Tertiary group command rejected | Log Only |  |  |  |  | Tertiary group command rejected | Log Only |  |  |  |  | TRUE
Service Disconnect open due to auto-disconnect | Alarm |  |  |  |  | Service Disconnect open due to auto-disconnect | Alarm |  |  |  |  | TRUE
Service Disconnect open due to supply capacity | Alarm |  |  |  |  | Service Disconnect open due to supply capacity | Alarm |  |  |  |  | TRUE
Service Disconnect close after supply capacity timeout. | Alarm |  |  |  |  | Service Disconnect close after supply capacity timeout. | Alarm |  |  |  |  | TRUE
Controlled Load override. | Log Only |  |  |  |  | Controlled Load override. | Log Only |  |  |  |  | TRUE
Multiple events logged today | Log Only |  |  |  |  | Multiple events logged today | Log Only |  |  |  |  | TRUE
Controlled Load override timer expired. | Log Only |  |  |  |  | Controlled Load override timer expired. | Log Only |  |  |  |  | TRUE
Controlled Load closed due to boost. | Log Only |  |  |  |  | Controlled Load closed due to boost. | Log Only |  |  |  |  | TRUE
Reprogramming | Log Only |  |  |  |  | Reprogramming | Log Only |  |  |  |  | TRUE
Scroll button pressed | Log Only |  |  |  |  | Scroll button pressed | Log Only |  |  |  |  | TRUE
Alt button pressed | Log Only |  |  |  |  | Alt button pressed | Log Only |  |  |  |  | TRUE
Boost button pressed | Log Only |  |  |  |  | Boost button pressed | Log Only |  |  |  |  | TRUE
Service Disconnect close acknowledged | Log Only |  |  |  |  | Service Disconnect close acknowledged | Log Only |  |  |  |  | TRUE
Service Disconnect open acknowledged | Log Only |  |  |  |  | Service Disconnect open acknowledged | Log Only |  |  |  |  | TRUE
Primary group command table write | Log Only |  |  |  |  | Primary group command table write | Log Only |  |  |  |  | TRUE
Secondary group command table write | Log Only |  |  |  |  | Secondary group command table write | Log Only |  |  |  |  | TRUE
Tertiary group command table write | Log Only |  |  |  |  | Tertiary group command table write | Log Only |  |  |  |  | TRUE
Failed password on login | Log Only |  |  |  |  | Failed password on login | Log Only |  |  |  |  | TRUE
Multiple failed logins | Log Only |  |  |  |  | Multiple failed logins | Log Only |  |  |  |  | TRUE
Communication lockout | Log Only |  |  |  |  | Communication lockout | Log Only |  |  |  |  | TRUE
Firmware changed | Log Only |  |  |  |  | Firmware changed | Log Only |  |  |  |  | TRUE
Master group command accepted | Log Only |  |  |  |  | Master group command accepted | Log Only |  |  |  |  | TRUE
Master group command rejected | Log Only |  |  |  |  | Master group command rejected | Log Only |  |  |  |  | TRUE
Local Parameter Change | Log Only |  |  |  |  | Local Parameter Change | Log Only |  |  |  |  | TRUE
Remote Power Fail | Log Only |  |  |  |  | Remote Power Fail | Log Only |  |  |  |  | TRUE
Communications Update | Log Only |  |  |  |  | Communications Update | Log Only |  |  |  |  | TRUE
Load Profile Status Change | Log Only |  |  |  |  | Load Profile Status Change | Log Only |  |  |  |  | TRUE
Multi Source Tamper | Log Only |  |  |  |  | Multi Source Tamper | Log Only |  |  |  |  | TRUE
Extended Load Control | Log Only |  |  |  |  | Extended Load Control | Log Only |  |  |  |  | TRUE
Ripple | Log Only |  |  |  |  | Ripple | Log Only |  |  |  |  | TRUE
Critical Table Changed | Log Only |  |  |  |  | Critical Table Changed | Log Only |  |  |  |  | TRUE
Prepayment | Log Only |  |  |  |  | Prepayment | Log Only |  |  |  |  | TRUE
Breaker LOS | Log Only |  |  |  |  | Breaker LOS | Log Only |  |  |  |  | TRUE
Extended Breaker State Change | Log Only |  |  |  |  | Extended Breaker State Change | Log Only |  |  |  |  | TRUE
Extended Event | Log Only |  |  |  |  | Extended Event | Log Only |  |  |  |  | TRUE

## U1300-11ML
1 | 2 | 3 | 4 | 5 | 6
U1300 Configuration Developer
Identification
Program File ID | 11MLCC1-001
TimeZone
Time Zone | (UTC+10:00) Canberra, Melbourne, Sydney
Options
Reset Password Lockout On Power Fail | TRUE
Enable Optical Priority | TRUE
Use Crystal for Time Keeping | TRUE
Metering Type | Net Metering
Tamper Event Grace Period (minutes) | 0
Memory | Extended 1
Registers
Number of Rates
Number of Rates | 6
Energy Registers
Register | Description
Register 1 | kWh Imported Element 1
Register 2 | kWh Imported Total
Register 3 | kWh Exported Element 1
Register 4 | kWh Exported Total
Register 5 | kVARh Imported Total(Q1+Q2)
Register 6 | kVARh Exported Total(Q3+Q4)
Export Wh Warning Levels
Description | Value
Element 1 | 0
Element 2 | 0
Demand
Number of demand registers is zero.
TOU Settings
Switch Times
Season No. | Day Type | Time | Rate
Recurring Dates
Month | Day | Offset | Day Of Week | Action | Prev Period Read
Non-recurring Dates
Date | Action | Prev Period Read
Load Profile Configuration
Number Of Groups | 1
LP Group 1 | Load Profile Channel Description
Channel 1 | kWh Imported Total
Channel 2 | kWh Exported Total
Interval minutes | 5 Min
Storage Days | 401
Quality of Supply Configuration
QoS Group | Description | Breach Time (Seconds) | Min | Max | Max Events
Channel 1 | Voltage | 60 | 207 | 259 | 100
Channel 2 | Voltage | 60 | 216 | 253 | 100
Channel 3 | Current E1 | 60 | -40 | 100 | 100
Display Settings
Energy Decimal Places | 1
Suppress Leading Zeroes | TRUE
No. of Energy Digits | 6
Display Groups
Normal Display List
Scroll Time [Secs] 5
Display ID | Description
1 | Time(hh:mm ss)
2 | Date
3 | kWh Imported Total
5 | kWh Exported Total
7 | kWh Imported Element 2
88 | Display Test
Alternative 1 Display List
Scroll Time [Secs] 5
Display ID | Description
20 | Serial No First 7
21 | Serial No Mid 7
22 | Firmware Revision
23 | Program File ID
24 | Program File Version
25 | Hardware Revision
26 | Standard Meter Status
27 | Manufacturer Meter Status
28 | Estimated % Battery Life Remaining
Alternative 2 Display List
Scroll Time [Secs] 5
Display ID | Description
1 | Voltage
2 | Amps Element 1
4 | Power Factor Total
5 | Frequency
6 | Power Active Total
7 | Power Reactive Total
Relay Settings
Relay Present Mask Setting
Breaker | TRUE
Controlled Load L1 | TRUE
Controlled Load L2 | FALSE
Arm Setting
Connect Arm | FALSE
Disconnect Arm | FALSE
Randomisation Method | On Power Up
Breaker Arming Timeout
Timeout | 1 Hours
Group ID Setting
Primary Group ID | 20
Secondary Group ID | 200
Tertiary Group ID | 200
Normal Supply Capacity Control
Normal Import Demand Duration [trading intervals] | 1
Normal Import Demand Limit [kW] | 0
Normal Export Demand Duration [trading intervals] | 1
Normal Export Demand Limit [kW] | 0
Normal Supply Reclose Delay [minutes] | 30
Emergency Supply Capacity Control
Emergency Demand Duration [minutes] | 5
Emergency Demand Limit [kW] | 0
Emergency Supply Reclose Delay [minutes] | 15
TOD Import Supply Capacity Control
Monitoring Start Time [HH:MM] | 0:00
Monitoring Duration [minutes] | 5
Import Demand Duration [trading intervals] | 1
Import Demand Limit [kW] | 0
Reclose Delay [minutes] | 1
TOD Export Supply Capacity Control
Monitoring Start Time [HH:MM] | 0:00
Monitoring Duration [minutes] | 5
Export Demand Duration [trading intervals] | 1
Export Demand Limit [kW] | 0
Reclose Delay [minutes] | 1
Supply Capacity Control Initial Settings
Enable Normal SCC | FALSE
Enable Emergency SCC | FALSE
Enable TodImport SCC | FALSE
Enable TodExport SCC | FALSE
Auto Disconnect
Auto Disconnect Monitoring Period [seconds] | 5
Auto Disconnect Demand Limit [W] | 20
Auto Disconnect Breach Time [seconds] | 3
Breaker Loss of Supply
Enable Loss of Supply | FALSE
Controlled Load - General
| Ignore time table delay on power up | FALSE
U1200 Compatibility Mode | FALSE
Controlled Load L1 Functionalities
Loss of Supply
Support Loss of Supply | FALSE
Power Restore
Support Power Restore | FALSE
Priority Override
Support Priority Override | TRUE
Override Period (HH:MM) | 8:00
| Minimum | Maximum
Random Delay (HH:MM) | 0:00 | 0:00
Boost
Support Boost | TRUE
Boost Duration | 8 hours
Allow to stop boost by pressing boost button | TRUE
Boost To Element 1 | TRUE
Stop boost when ESCC is enabled | TRUE
Boost Primacy Initial Command
Enable Boost Primacy | TRUE
Under Frequency Load Control (UFLC)
Support Under Frequency Load Control | FALSE
Demand Limiting Load Control (DLLC)
Support Demand Limiting Load Control | FALSE
Time Table
Support Time Table | TRUE
General Settings
| Minimum | Maximum
Random Delay (HH:MM) | 0:00 | 0:30
Default Relay Action | Open
Cycler Configuration
Cycler Type | Standard
| Minimum | Maximum
Initial Delay(T1) | 0:00 | 0:00
Close Duration(T2) | 0:01
Open Duration(T3) | 0:01
Season Switch Dates
Month | Day | Offset | Day Of Week | Action
January | 1 | No Offset |  | Season Change 0
Season 0 Normal Scheduler
Switch Table A
Switch Time | Action
7:00 | Instant Open
23:00 | Delayed Close
Applies to
Monday
Tuesday
Wednesday
Thursday
Friday
Saturday
Sunday
Switch Table B
Switch Time | Action
Applies to
Ripple
Support Ripple Control | FALSE
Prepayment
Support Prepayment | FALSE
Back End Communication
Modem | Not configured
Modem Reset Type | None
Event Settings
Event | Setting
Primary Power Down | Log Only
Primary Power Up | Log Only
Time Changed (old time used as time stamp) | Log Only
Time Changed (new time used as time stamp) | Log Only
Procedure Invoked | Log Only
Table Written To | Log Only
Reset List Pointers | Log Only
Event Log Cleared | Log Only
Season Changed | Log Only
Special Schedule Activated | Log Only
Self check error detected | Log Only
Non-volatile memory failure detected | Log Only
Measurement error detected | Log Only
Low battery detected | Log Only
Tamper attempt detected | Log Only
QOS threshold I breach start | Log Only
QOS threshold I breach end | Log Only
QOS threshold II breach start | Log Only
QOS threshold II breach end | Log Only
QOS threshold III breach start | Log Only
QOS threshold III breach end | Log Only
Element 1 export energy detected start | Log Only
Element 1 export energy detected end | Log Only
Element 2 export energy detected start | Log Only
Element 2 export energy detected end | Log Only
Service Disconnect open | Log Only
Service Disconnect close | Log Only
Service Disconnect armed for open | Log Only
Service Disconnect armed for close | Log Only
Controlled Load L1 open | Log Only
Controlled Load L1 close | Log Only
Controlled Load L2 open | Log Only
Controlled Load L2 close | Log Only
Primary group command accepted | Log Only
Primary group command rejected | Log Only
Secondary group command accepted | Log Only
Secondary group command rejected | Log Only
Tertiary group command accepted | Log Only
Tertiary group command rejected | Log Only
Service Disconnect open due to auto-disconnect | Alarm
Service Disconnect open due to supply capacity | Alarm
Service Disconnect close after supply capacity timeout. | Alarm
Controlled Load override. | Log Only
Multiple events logged today | Log Only
Controlled Load override timer expired. | Log Only
Controlled Load closed due to boost. | Log Only
Reprogramming | Log Only
Scroll button pressed | Log Only
Alt button pressed | Log Only
Boost button pressed | Log Only
Service Disconnect close acknowledged | Log Only
Service Disconnect open acknowledged | Log Only
Primary group command table write | Log Only
Secondary group command table write | Log Only
Tertiary group command table write | Log Only
Failed password on login | Log Only
Multiple failed logins | Log Only
Communication lockout | Log Only
Firmware changed | Log Only
Master group command accepted | Log Only
Master group command rejected | Log Only
Local Parameter Change | Log Only
Remote Power Fail | Log Only
Communications Update | Log Only
Load Profile Status Change | Log Only
Multi Source Tamper | Log Only
Extended Load Control | Log Only
Ripple | Log Only
Critical Table Changed | Log Only
Prepayment | Log Only
Breaker LOS | Log Only
Extended Breaker State Change | Log Only
Extended Event | Log Only

## U1300-12ML
1 | 2 | 3 | 4 | 5 | 6
U1300 Configuration Developer
Identification
Program File ID | 12MLAD2-001
TimeZone
Time Zone | (UTC+10:00) Canberra, Melbourne, Sydney
Options
Reset Password Lockout On Power Fail | TRUE
Enable Optical Priority | TRUE
Use Crystal for Time Keeping | TRUE
Metering Type | Net Metering
Tamper Event Grace Period (minutes) | 0
Memory | Extended 1
Registers
Number of Rates
Number of Rates | 6
Energy Registers
Register | Description
Register 1 | kWh Imported Element 1
Register 2 | kWh Imported Total
Register 3 | kWh Exported Element 1
Register 4 | kWh Exported Total
Register 5 | kWh Imported Element 2
Register 6 | kWh Exported Element 2
Export Wh Warning Levels
Description | Value
Element 1 | 0
Element 2 | 0
Demand
Number of demand registers is zero.
TOU Settings
Switch Times
Season No. | Day Type | Time | Rate
Recurring Dates
Month | Day | Offset | Day Of Week | Action | Prev Period Read
Non-recurring Dates
Date | Action | Prev Period Read
Load Profile Configuration
Number Of Groups | 1
LP Group 1 | Load Profile Channel Description
Channel 1 | kWh Imported Element 1
Channel 2 | kWh Imported Element 2
Channel 3 | kWh Exported Total
Interval minutes | 5 Min
Storage Days | 302
Quality of Supply Configuration
QoS Group | Description | Breach Time (Seconds) | Min | Max | Max Events
Channel 1 | Voltage | 60 | 207 | 259 | 100
Channel 2 | Voltage | 60 | 216 | 253 | 100
Channel 3 | Current E1 | 60 | -40 | 100 | 100
Display Settings
Energy Decimal Places | 1
Suppress Leading Zeroes | TRUE
No. of Energy Digits | 6
Display Groups
Normal Display List
Scroll Time [Secs] 5
Display ID | Description
1 | Time(hh:mm ss)
2 | Date
3 | kWh Imported Element 1
5 | kWh Exported Total
7 | kWh Imported Element 2
88 | Display Test
Alternative 1 Display List
Scroll Time [Secs] 5
Display ID | Description
20 | Serial No First 7
21 | Serial No Mid 7
22 | Firmware Revision
23 | Program File ID
24 | Program File Version
25 | Hardware Revision
26 | Standard Meter Status
27 | Manufacturer Meter Status
28 | Estimated % Battery Life Remaining
Alternative 2 Display List
Scroll Time [Secs] 5
Display ID | Description
1 | Voltage
2 | Amps Element 1
3 | Amps Element 2
4 | Power Factor Total
5 | Frequency
6 | Power Active Total
7 | Power Reactive Total
Relay Settings
Relay Present Mask Setting
Breaker | TRUE
Controlled Load L1 | TRUE
Controlled Load L2 | FALSE
Arm Setting
Connect Arm | FALSE
Disconnect Arm | FALSE
Randomisation Method | On Power Up
Breaker Arming Timeout
Timeout | 1 Hours
Group ID Setting
Primary Group ID | 20
Secondary Group ID | 200
Tertiary Group ID | 200
Normal Supply Capacity Control
Normal Import Demand Duration [trading intervals] | 1
Normal Import Demand Limit [kW] | 0
Normal Export Demand Duration [trading intervals] | 1
Normal Export Demand Limit [kW] | 0
Normal Supply Reclose Delay [minutes] | 30
Emergency Supply Capacity Control
Emergency Demand Duration [minutes] | 5
Emergency Demand Limit [kW] | 0
Emergency Supply Reclose Delay [minutes] | 15
TOD Import Supply Capacity Control
Monitoring Start Time [HH:MM] | 0:00
Monitoring Duration [minutes] | 5
Import Demand Duration [trading intervals] | 1
Import Demand Limit [kW] | 0
Reclose Delay [minutes] | 1
TOD Export Supply Capacity Control
Monitoring Start Time [HH:MM] | 0:00
Monitoring Duration [minutes] | 5
Export Demand Duration [trading intervals] | 1
Export Demand Limit [kW] | 0
Reclose Delay [minutes] | 1
Supply Capacity Control Initial Settings
Enable Normal SCC | FALSE
Enable Emergency SCC | FALSE
Enable TodImport SCC | FALSE
Enable TodExport SCC | FALSE
Auto Disconnect
Auto Disconnect Monitoring Period [seconds] | 5
Auto Disconnect Demand Limit [W] | 20
Auto Disconnect Breach Time [seconds] | 3
Breaker Loss of Supply
Enable Loss of Supply | FALSE
Controlled Load - General
| Ignore time table delay on power up | FALSE
U1200 Compatibility Mode | FALSE
Controlled Load L1 Functionalities
Loss of Supply
Support Loss of Supply | FALSE
Power Restore
Support Power Restore | FALSE
Priority Override
Support Priority Override | TRUE
Override Period (HH:MM) | 8:00
| Minimum | Maximum
Random Delay (HH:MM) | 0:00 | 0:00
Boost
Support Boost | TRUE
Boost Duration | 8 hours
Allow to stop boost by pressing boost button | TRUE
Boost To Element 1 | TRUE
Stop boost when ESCC is enabled | TRUE
Boost Primacy Initial Command
Enable Boost Primacy | TRUE
Under Frequency Load Control (UFLC)
Support Under Frequency Load Control | FALSE
Demand Limiting Load Control (DLLC)
Support Demand Limiting Load Control | FALSE
Time Table
Support Time Table | TRUE
General Settings
| Minimum | Maximum
Random Delay (HH:MM) | 0:00 | 1:30
Default Relay Action | Open
Cycler Configuration
Cycler Type | Standard
| Minimum | Maximum
Initial Delay(T1) | 0:00 | 0:00
Close Duration(T2) | 0:01
Open Duration(T3) | 0:01
Season Switch Dates
Month | Day | Offset | Day Of Week | Action
January | 1 | No Offset |  | Season Change 0
Season 0 Normal Scheduler
Switch Table A
Switch Time | Action
7:00 | Instant Open
22:00 | Delayed Close
Applies to
Monday
Tuesday
Wednesday
Thursday
Friday
Saturday
Sunday
Switch Table B
Switch Time | Action
Applies to
Ripple
Support Ripple Control | FALSE
Prepayment
Support Prepayment | FALSE
Back End Communication
Modem | Not configured
Modem Reset Type | None
Event Settings
Event | Setting
Primary Power Down | Log Only
Primary Power Up | Log Only
Time Changed (old time used as time stamp) | Log Only
Time Changed (new time used as time stamp) | Log Only
Procedure Invoked | Log Only
Table Written To | Log Only
Reset List Pointers | Log Only
Event Log Cleared | Log Only
Season Changed | Log Only
Special Schedule Activated | Log Only
Self check error detected | Log Only
Non-volatile memory failure detected | Log Only
Measurement error detected | Log Only
Low battery detected | Log Only
Tamper attempt detected | Log Only
QOS threshold I breach start | Log Only
QOS threshold I breach end | Log Only
QOS threshold II breach start | Log Only
QOS threshold II breach end | Log Only
QOS threshold III breach start | Log Only
QOS threshold III breach end | Log Only
Element 1 export energy detected start | Log Only
Element 1 export energy detected end | Log Only
Element 2 export energy detected start | Log Only
Element 2 export energy detected end | Log Only
Service Disconnect open | Log Only
Service Disconnect close | Log Only
Service Disconnect armed for open | Log Only
Service Disconnect armed for close | Log Only
Controlled Load L1 open | Log Only
Controlled Load L1 close | Log Only
Controlled Load L2 open | Log Only
Controlled Load L2 close | Log Only
Primary group command accepted | Log Only
Primary group command rejected | Log Only
Secondary group command accepted | Log Only
Secondary group command rejected | Log Only
Tertiary group command accepted | Log Only
Tertiary group command rejected | Log Only
Service Disconnect open due to auto-disconnect | Alarm
Service Disconnect open due to supply capacity | Alarm
Service Disconnect close after supply capacity timeout. | Alarm
Controlled Load override. | Log Only
Multiple events logged today | Log Only
Controlled Load override timer expired. | Log Only
Controlled Load closed due to boost. | Log Only
Reprogramming | Log Only
Scroll button pressed | Log Only
Alt button pressed | Log Only
Boost button pressed | Log Only
Service Disconnect close acknowledged | Log Only
Service Disconnect open acknowledged | Log Only
Primary group command table write | Log Only
Secondary group command table write | Log Only
Tertiary group command table write | Log Only
Failed password on login | Log Only
Multiple failed logins | Log Only
Communication lockout | Log Only
Firmware changed | Log Only
Master group command accepted | Log Only
Master group command rejected | Log Only
Local Parameter Change | Log Only
Remote Power Fail | Log Only
Communications Update | Log Only
Load Profile Status Change | Log Only
Multi Source Tamper | Log Only
Extended Load Control | Log Only
Ripple | Log Only
Critical Table Changed | Log Only
Prepayment | Log Only
Breaker LOS | Log Only
Extended Breaker State Change | Log Only
Extended Event | Log Only

## U3400-30ML3
1 | 2 | 3 | 4 | 5 | 6 | 1 | 2 | 3 | 4 | 5 | 6
U3400 Configuration Developer | [5 empty] | U3400 Configuration Developer | [5 empty] | TRUE
TRUE
Identification | [5 empty] | Identification | [5 empty] | TRUE
TRUE
Program File ID | 30ML0C1-001 |  |  |  |  | Program File ID | 000L4C4-V01 |  |  |  |  | FALSE
TRUE
TimeZone | [5 empty] | TimeZone | [5 empty] | TRUE
TRUE
Time Zone | (UTC+10:00) Canberra, Melbourne, Sydney |  |  |  |  | Time Zone | (UTC+10:00) Canberra, Melbourne, Sydney |  |  |  |  | TRUE
TRUE
Options | [5 empty] | Options | [5 empty] | TRUE
TRUE
Reset Password Lockout On Power Fail | TRUE |  |  |  |  | Reset Password Lockout On Power Fail | TRUE |  |  |  |  | TRUE
Enable Optical Priority | TRUE |  |  |  |  | Enable Optical Priority | TRUE |  |  |  |  | TRUE
Use Crystal for Time Keeping | TRUE |  |  |  |  | Use Crystal for Time Keeping | TRUE |  |  |  |  | TRUE
Metering Type | Net Metering |  |  |  |  | Metering Type | Net Metering |  |  |  |  | TRUE
Total Metering | Total Phase A+B+C |  |  |  |  | Total Metering | Total Phase A+B+C |  |  |  |  | TRUE
Tamper Event Grace Period (minutes) | 0 |  |  |  |  | Tamper Event Grace Period (minutes) | 0 |  |  |  |  | TRUE
Memory | Extended 1 |  |  |  |  | Memory | Extended 1 |  |  |  |  | TRUE
TRUE
Registers | [5 empty] | Registers | [5 empty] | TRUE
TRUE
Number of Rates | [5 empty] | Number of Rates | [5 empty] | TRUE
TRUE
Number of Rates | 1 |  |  |  |  | Number of Rates | 1 |  |  |  |  | TRUE
TRUE
Energy Registers | [5 empty] | Energy Registers | [5 empty] | TRUE
TRUE
Register | Description |  |  |  |  | Register | Description |  |  |  |  | TRUE
Register 1 | kWh Imported Total |  |  |  |  | Register 1 | kWh Imported Total |  |  |  |  | TRUE
Register 2 | kWh Exported Total |  |  |  |  | Register 2 | kWh Exported Total |  |  |  |  | TRUE
Register 3 | kVARh Imported Total(Q1+Q2) |  |  |  |  | Register 3 | kVARh Imported Total(Q1+Q2) |  |  |  |  | TRUE
Register 4 | kVARh Exported Total(Q3+Q4) |  |  |  |  | Register 4 | kVARh Exported Total(Q3+Q4) |  |  |  |  | TRUE
Register 5 | kWh Imported Phase A | [10 empty] | FALSE
Register 6 | kWh Imported Phase B | [10 empty] | FALSE
TRUE
Export Wh Warning Levels | [5 empty] | Export Wh Warning Levels | [5 empty] | TRUE
TRUE
Description | Value |  |  |  |  | Description | Value |  |  |  |  | TRUE
Phase A | 0 |  |  |  |  | Phase A | 0 |  |  |  |  | TRUE
Phase B | 0 |  |  |  |  | Phase B | 0 |  |  |  |  | TRUE
Phase C | 0 |  |  |  |  | Phase C | 0 |  |  |  |  | TRUE
TRUE
Demand | [5 empty] | Demand | [5 empty] | TRUE
TRUE
Number of demand registers is zero. | [5 empty] | Number of demand registers is zero. | [5 empty] | TRUE
TRUE
TOU Settings | [5 empty] | TOU Settings | [5 empty] | TRUE
TRUE
Switch Times | [5 empty] | Switch Times | [5 empty] | TRUE
TRUE
Season No. | Day Type | Time | Rate |  |  | Season No. | Day Type | Time | Rate |  |  | TRUE
TRUE
Recurring Dates | [5 empty] | Recurring Dates | [5 empty] | TRUE
TRUE
Month | Day | Offset | Day Of Week | Action | Prev Period Read | Month | Day | Offset | Day Of Week | Action | Prev Period Read | TRUE
TRUE
Non-recurring Dates | [5 empty] | Non-recurring Dates | [5 empty] | TRUE
TRUE
Date | Action | Prev Period Read |  |  |  | Date | Action | Prev Period Read |  |  |  | TRUE
TRUE
Load Profile Configuration | [5 empty] | Load Profile Configuration | [5 empty] | TRUE
TRUE
Number Of Groups | 1 |  |  |  |  | Number Of Groups | 1 |  |  |  |  | TRUE
TRUE
LP Group 1 | Load Profile Channel Description |  |  |  |  | LP Group 1 | Load Profile Channel Description |  |  |  |  | TRUE
Channel 1 | kWh Imported Total |  |  |  |  | Channel 1 | kWh Imported Total |  |  |  |  | TRUE
Channel 2 | kWh Exported Total |  |  |  |  | Channel 2 | kWh Exported Total |  |  |  |  | TRUE
[6 empty] | Channel 3 | kVARh Imported Total(Q1+Q2) |  |  |  |  | FALSE
[6 empty] | Channel 4 | kVARh Exported Total(Q3+Q4) |  |  |  |  | FALSE
Interval minutes | 5 Min |  |  |  |  | Interval minutes | 5 Min |  |  |  |  | TRUE
Storage Days | 401 |  |  |  |  | Storage Days | 220 |  |  |  |  | FALSE
TRUE
Quality of Supply Configuration | [5 empty] | Quality of Supply Configuration | [5 empty] | TRUE
TRUE
QoS Group | Description | Breach Time (Seconds) | Min | Max | Max Events | QoS Group | Description | Breach Time (Seconds) | Min | Max | Max Events | TRUE
Channel 1 | Voltage Phase A | 60 | 207 | 259 | 100 | Channel 1 | Voltage Phase A | 60 | 207 | 259 | 100 | TRUE
Channel 2 | Voltage Phase B | 60 | 207 | 259 | 100 | Channel 2 | Voltage Phase B | 60 | 207 | 259 | 100 | TRUE
Channel 3 | Voltage Phase C | 60 | 207 | 259 | 100 | Channel 3 | Voltage Phase C | 60 | 207 | 259 | 100 | TRUE
Channel 4 | Current Phase A | 60 | -40 | 100 | 100 | Channel 4 | Current Phase A | 60 | -40 | 100 | 100 | TRUE
Channel 5 | Current Phase B | 60 | -40 | 100 | 100 | Channel 5 | Current Phase B | 60 | -40 | 100 | 100 | TRUE
Channel 6 | Current Phase C | 60 | -40 | 100 | 100 | Channel 6 | Current Phase C | 60 | -40 | 100 | 100 | TRUE
TRUE
Display Settings | [5 empty] | Display Settings | [5 empty] | TRUE
TRUE
Energy Decimal Places | 1 |  |  |  |  | Energy Decimal Places | 1 |  |  |  |  | TRUE
Suppress Leading Zeroes | TRUE |  |  |  |  | Suppress Leading Zeroes | TRUE |  |  |  |  | TRUE
No. of Energy Digits | 7 |  |  |  |  | No. of Energy Digits | 7 |  |  |  |  | TRUE
TRUE
Display Groups | [5 empty] | Display Groups | [5 empty] | TRUE
TRUE
Normal Display List | [5 empty] | Normal Display List | [5 empty] | TRUE
Scroll Time [Secs] 5 | [5 empty] | Scroll Time [Secs] 5 | [5 empty] | TRUE
Display ID | Description |  |  |  |  | Display ID | Description |  |  |  |  | TRUE
1 | Time(hh:mm ss) |  |  |  |  | 88 | Display Test |  |  |  |  | FALSE
2 | Date |  |  |  |  | 1 | Date |  |  |  |  | FALSE
3 | kWh Imported Total |  |  |  |  | 2 | Time(hh:mm ss) |  |  |  |  | FALSE
5 | kWh Exported Total |  |  |  |  | 3 | kWh Imported Total |  |  |  |  | FALSE
88 | Display Test |  |  |  |  | 13 | kWh Exported Total |  |  |  |  | FALSE
[6 empty] | 60 | Standard Meter Status |  |  |  |  | FALSE
[6 empty] | 62 | Manufacturer Meter Status |  |  |  |  | FALSE
TRUE
Alternative 1 Display List | [5 empty] | Alternative 1 Display List | [5 empty] | TRUE
Scroll Time [Secs] 5 | [5 empty] | Scroll Time [Secs] 5 | [5 empty] | TRUE
Display ID | Description |  |  |  |  | Display ID | Description |  |  |  |  | TRUE
20 | Serial No First 7 |  |  |  |  | 20 | Serial No First 7 |  |  |  |  | TRUE
21 | Serial No Mid 7 |  |  |  |  | 21 | Serial No Mid 7 |  |  |  |  | TRUE
22 | Firmware Revision |  |  |  |  | 22 | Firmware Revision |  |  |  |  | TRUE
23 | Program File ID |  |  |  |  | 23 | Program File ID |  |  |  |  | TRUE
24 | Program File Version |  |  |  |  | 24 | Program File Version |  |  |  |  | TRUE
25 | Hardware Revision |  |  |  |  | 25 | Hardware Revision |  |  |  |  | TRUE
26 | Standard Meter Status |  |  |  |  | 26 | Standard Meter Status |  |  |  |  | TRUE
27 | Manufacturer Meter Status |  |  |  |  | 27 | Manufacturer Meter Status |  |  |  |  | TRUE
28 | Estimated % Battery Life Remaining |  |  |  |  | 28 | Estimated % Battery Life Remaining |  |  |  |  | TRUE
TRUE
Alternative 2 Display List | [5 empty] | Alternative 2 Display List | [5 empty] | TRUE
Scroll Time [Secs] 5 | [5 empty] | Scroll Time [Secs] 5 | [5 empty] | TRUE
Display ID | Description |  |  |  |  | Display ID | Description |  |  |  |  | TRUE
1 | Voltage Phase A |  |  |  |  | 1 | Voltage Phase A |  |  |  |  | TRUE
2 | Amps Phase A |  |  |  |  | 2 | Amps Phase A |  |  |  |  | TRUE
3 | Voltage Phase B |  |  |  |  | 3 | Voltage Phase B |  |  |  |  | TRUE
4 | Amps Phase B |  |  |  |  | 4 | Amps Phase B |  |  |  |  | TRUE
5 | Voltage Phase C |  |  |  |  | 5 | Voltage Phase C |  |  |  |  | TRUE
6 | Amps Phase C |  |  |  |  | 6 | Amps Phase C |  |  |  |  | TRUE
7 | Power Factor Total |  |  |  |  | 7 | Power Factor Total |  |  |  |  | TRUE
8 | Frequency |  |  |  |  | 8 | Frequency |  |  |  |  | TRUE
9 | Power Active Total |  |  |  |  | 9 | Power Active Total |  |  |  |  | TRUE
10 | Power Reactive Total |  |  |  |  | 10 | Power Reactive Total |  |  |  |  | TRUE
TRUE
Relay Settings | [5 empty] | Relay Settings | [5 empty] | TRUE
TRUE
Relay Present Mask Setting | [5 empty] | Relay Present Mask Setting | [5 empty] | TRUE
Breaker | TRUE |  |  |  |  | Breaker | TRUE |  |  |  |  | TRUE
Controlled Load L1 | FALSE |  |  |  |  | Controlled Load L1 | FALSE |  |  |  |  | TRUE
Controlled Load L2 | FALSE |  |  |  |  | Controlled Load L2 | FALSE |  |  |  |  | TRUE
Controlled Load L3 | FALSE |  |  |  |  | Controlled Load L3 | FALSE |  |  |  |  | TRUE
Controlled Load L4 | FALSE |  |  |  |  | Controlled Load L4 | FALSE |  |  |  |  | TRUE
Arm Setting | [5 empty] | Arm Setting | [5 empty] | TRUE
Connect Arm | FALSE |  |  |  |  | Connect Arm | FALSE |  |  |  |  | TRUE
Disconnect Arm | FALSE |  |  |  |  | Disconnect Arm | FALSE |  |  |  |  | TRUE
Randomisation Method | On Power Up |  |  |  |  | Randomisation Method | On Power Up |  |  |  |  | TRUE
TRUE
Breaker Arming Timeout | [5 empty] | Breaker Arming Timeout | [5 empty] | TRUE
TRUE
Timeout | 1 Hours |  |  |  |  | Timeout | 1 Hours |  |  |  |  | TRUE
TRUE
Group ID Setting | [5 empty] | Group ID Setting | [5 empty] | TRUE
TRUE
Primary Group ID | 20 |  |  |  |  | Primary Group ID | 1 |  |  |  |  | FALSE
Secondary Group ID | 200 |  |  |  |  | Secondary Group ID | 1 |  |  |  |  | FALSE
Tertiary Group ID | 200 |  |  |  |  | Tertiary Group ID | 1 |  |  |  |  | FALSE
TRUE
Breaker Maintenance Cycle | [5 empty] | Breaker Maintenance Cycle | [5 empty] | TRUE
TRUE
Breaker Maintenance Hour | 24 |  |  |  |  | Breaker Maintenance Hour | 24 |  |  |  |  | TRUE
Breaker Maintenance Randomisation (Minutes) | 2 |  |  |  |  | Breaker Maintenance Randomisation (Minutes) | 2 |  |  |  |  | TRUE
TRUE
Normal Supply Capacity Control | [5 empty] | Normal Supply Capacity Control | [5 empty] | TRUE
TRUE
Normal Import Demand Duration [trading intervals] | 1 |  |  |  |  | Normal Import Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Normal Import Demand Limit [kW] | 0 |  |  |  |  | Normal Import Demand Limit [kW] | 0 |  |  |  |  | TRUE
Normal Export Demand Duration [trading intervals] | 1 |  |  |  |  | Normal Export Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Normal Export Demand Limit [kW] | 0 |  |  |  |  | Normal Export Demand Limit [kW] | 0 |  |  |  |  | TRUE
Normal Supply Reclose Delay [minutes] | 30 |  |  |  |  | Normal Supply Reclose Delay [minutes] | 30 |  |  |  |  | TRUE
TRUE
Emergency Supply Capacity Control | [5 empty] | Emergency Supply Capacity Control | [5 empty] | TRUE
TRUE
Emergency Demand Duration [minutes] | 5 |  |  |  |  | Emergency Demand Duration [minutes] | 5 |  |  |  |  | TRUE
Emergency Demand Limit [kW] | 0 |  |  |  |  | Emergency Demand Limit [kW] | 0 |  |  |  |  | TRUE
Emergency Supply Reclose Delay [minutes] | 15 |  |  |  |  | Emergency Supply Reclose Delay [minutes] | 15 |  |  |  |  | TRUE
TRUE
TOD Import Supply Capacity Control | [5 empty] | TOD Import Supply Capacity Control | [5 empty] | TRUE
TRUE
Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | TRUE
Monitoring Duration [minutes] | 5 |  |  |  |  | Monitoring Duration [minutes] | 5 |  |  |  |  | TRUE
Import Demand Duration [trading intervals] | 1 |  |  |  |  | Import Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Import Demand Limit [kW] | 0 |  |  |  |  | Import Demand Limit [kW] | 0 |  |  |  |  | TRUE
Reclose Delay [minutes] | 1 |  |  |  |  | Reclose Delay [minutes] | 1 |  |  |  |  | TRUE
TRUE
TOD Export Supply Capacity Control | [5 empty] | TOD Export Supply Capacity Control | [5 empty] | TRUE
TRUE
Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | Monitoring Start Time [HH:MM] | 0:00 |  |  |  |  | TRUE
Monitoring Duration [minutes] | 5 |  |  |  |  | Monitoring Duration [minutes] | 5 |  |  |  |  | TRUE
Export Demand Duration [trading intervals] | 1 |  |  |  |  | Export Demand Duration [trading intervals] | 1 |  |  |  |  | TRUE
Export Demand Limit [kW] | 0 |  |  |  |  | Export Demand Limit [kW] | 0 |  |  |  |  | TRUE
Reclose Delay [minutes] | 1 |  |  |  |  | Reclose Delay [minutes] | 1 |  |  |  |  | TRUE
TRUE
Supply Capacity Control Initial Settings | [5 empty] | Supply Capacity Control Initial Settings | [5 empty] | TRUE
TRUE
Enable Normal SCC | FALSE |  |  |  |  | Enable Normal SCC | FALSE |  |  |  |  | TRUE
Enable Emergency SCC | FALSE |  |  |  |  | Enable Emergency SCC | FALSE |  |  |  |  | TRUE
Enable TodImport SCC | FALSE |  |  |  |  | Enable TodImport SCC | FALSE |  |  |  |  | TRUE
Enable TodExport SCC | FALSE |  |  |  |  | Enable TodExport SCC | FALSE |  |  |  |  | TRUE
TRUE
Auto Disconnect | [5 empty] | Auto Disconnect | [5 empty] | TRUE
TRUE
Auto Disconnect Monitoring Period [seconds] | 5 |  |  |  |  | Auto Disconnect Monitoring Period [seconds] | 5 |  |  |  |  | TRUE
Auto Disconnect Demand Limit [W] | 20 |  |  |  |  | Auto Disconnect Demand Limit [W] | 20 |  |  |  |  | TRUE
Auto Disconnect Breach Time [seconds] | 3 |  |  |  |  | Auto Disconnect Breach Time [seconds] | 3 |  |  |  |  | TRUE
TRUE
Breaker Loss of Supply | [5 empty] | Breaker Loss of Supply | [5 empty] | TRUE
TRUE
Enable Loss of Supply | FALSE |  |  |  |  | Enable Loss of Supply | FALSE |  |  |  |  | TRUE
TRUE
Controlled Load - General | [5 empty] | Controlled Load - General | [5 empty] | TRUE
TRUE
| Ignore time table delay on power up | FALSE |  |  |  |  | Ignore time table delay on power up | FALSE |  |  |  | TRUE
TRUE
TRUE
Prepayment | [5 empty] | Prepayment | [5 empty] | TRUE
TRUE
Support Prepayment | FALSE |  |  |  |  | Support Prepayment | FALSE |  |  |  |  | TRUE
TRUE
Back End Communication | [5 empty] | Back End Communication | [5 empty] | TRUE
TRUE
Modem | Not configured |  |  |  |  | Modem | Not configured |  |  |  |  | TRUE
Modem Reset Type | None |  |  |  |  | Modem Reset Type | None |  |  |  |  | TRUE
TRUE
Event Settings | [5 empty] | Event Settings | [5 empty] | TRUE
TRUE
Event | Setting |  |  |  |  | Event | Setting |  |  |  |  | TRUE
Primary Power Down | Log Only |  |  |  |  | Primary Power Down | Log Only |  |  |  |  | TRUE
Primary Power Up | Log Only |  |  |  |  | Primary Power Up | Log Only |  |  |  |  | TRUE
Time Changed (old time used as time stamp) | Log Only |  |  |  |  | Time Changed (old time used as time stamp) | Log Only |  |  |  |  | TRUE
Time Changed (new time used as time stamp) | Log Only |  |  |  |  | Time Changed (new time used as time stamp) | Log Only |  |  |  |  | TRUE
Procedure Invoked | Log Only |  |  |  |  | Procedure Invoked | Log Only |  |  |  |  | TRUE
Table Written To | Log Only |  |  |  |  | Table Written To | Log Only |  |  |  |  | TRUE
Reset List Pointers | Log Only |  |  |  |  | Reset List Pointers | Log Only |  |  |  |  | TRUE
Event Log Cleared | Log Only |  |  |  |  | Event Log Cleared | Log Only |  |  |  |  | TRUE
Season Changed | Log Only |  |  |  |  | Season Changed | Log Only |  |  |  |  | TRUE
Special Schedule Activated | Log Only |  |  |  |  | Special Schedule Activated | Log Only |  |  |  |  | TRUE
Self check error detected | Log Only |  |  |  |  | Self check error detected | Log Only |  |  |  |  | TRUE
Non-volatile memory failure detected | Log Only |  |  |  |  | Non-volatile memory failure detected | Log Only |  |  |  |  | TRUE
Measurement error detected | Log Only |  |  |  |  | Measurement error detected | Log Only |  |  |  |  | TRUE
Low battery detected | Log Only |  |  |  |  | Low battery detected | Log Only |  |  |  |  | TRUE
Tamper attempt detected | Log Only |  |  |  |  | Tamper attempt detected | Log Only |  |  |  |  | TRUE
Phase A mains voltage loss | Log Only |  |  |  |  | Phase A mains voltage loss | Log Only |  |  |  |  | TRUE
Phase A mains voltage restored | Log Only |  |  |  |  | Phase A mains voltage restored | Log Only |  |  |  |  | TRUE
Phase B mains voltage loss | Log Only |  |  |  |  | Phase B mains voltage loss | Log Only |  |  |  |  | TRUE
Phase B mains voltage restored | Log Only |  |  |  |  | Phase B mains voltage restored | Log Only |  |  |  |  | TRUE
Phase C mains voltage loss | Log Only |  |  |  |  | Phase C mains voltage loss | Log Only |  |  |  |  | TRUE
Phase C mains voltage restored | Log Only |  |  |  |  | Phase C mains voltage restored | Log Only |  |  |  |  | TRUE
QOS threshold I breach start | Log Only |  |  |  |  | QOS threshold I breach start | Log Only |  |  |  |  | TRUE
QOS threshold I breach end | Log Only |  |  |  |  | QOS threshold I breach end | Log Only |  |  |  |  | TRUE
QOS threshold II breach start | Log Only |  |  |  |  | QOS threshold II breach start | Log Only |  |  |  |  | TRUE
QOS threshold II breach end | Log Only |  |  |  |  | QOS threshold II breach end | Log Only |  |  |  |  | TRUE
QOS threshold III breach start | Log Only |  |  |  |  | QOS threshold III breach start | Log Only |  |  |  |  | TRUE
QOS threshold III breach end | Log Only |  |  |  |  | QOS threshold III breach end | Log Only |  |  |  |  | TRUE
QOS threshold IV breach start | Log Only |  |  |  |  | QOS threshold IV breach start | Log Only |  |  |  |  | TRUE
QOS threshold IV breach end | Log Only |  |  |  |  | QOS threshold IV breach end | Log Only |  |  |  |  | TRUE
QOS threshold V breach start | Log Only |  |  |  |  | QOS threshold V breach start | Log Only |  |  |  |  | TRUE
QOS threshold V breach end | Log Only |  |  |  |  | QOS threshold V breach end | Log Only |  |  |  |  | TRUE
QOS threshold VI breach start | Log Only |  |  |  |  | QOS threshold VI breach start | Log Only |  |  |  |  | TRUE
QOS threshold VI breach end | Log Only |  |  |  |  | QOS threshold VI breach end | Log Only |  |  |  |  | TRUE
Phase A export energy detected start | Log Only |  |  |  |  | Phase A export energy detected start | Log Only |  |  |  |  | TRUE
Phase A export energy detected end | Log Only |  |  |  |  | Phase A export energy detected end | Log Only |  |  |  |  | TRUE
Phase B export energy detected start | Log Only |  |  |  |  | Phase B export energy detected start | Log Only |  |  |  |  | TRUE
Phase B export energy detected end | Log Only |  |  |  |  | Phase B export energy detected end | Log Only |  |  |  |  | TRUE
Phase C export energy detected start | Log Only |  |  |  |  | Phase C export energy detected start | Log Only |  |  |  |  | TRUE
Phase C export energy detected end | Log Only |  |  |  |  | Phase C export energy detected end | Log Only |  |  |  |  | TRUE
Service Disconnect open | Log Only |  |  |  |  | Service Disconnect open | Log Only |  |  |  |  | TRUE
Service Disconnect close | Log Only |  |  |  |  | Service Disconnect close | Log Only |  |  |  |  | TRUE
Service Disconnect armed for open | Log Only |  |  |  |  | Service Disconnect armed for open | Log Only |  |  |  |  | TRUE
Service Disconnect armed for close | Log Only |  |  |  |  | Service Disconnect armed for close | Log Only |  |  |  |  | TRUE
Controlled Load L1 open | Log Only |  |  |  |  | Controlled Load L1 open | Log Only |  |  |  |  | TRUE
Controlled Load L1 close | Log Only |  |  |  |  | Controlled Load L1 close | Log Only |  |  |  |  | TRUE
Controlled Load L2 open | Log Only |  |  |  |  | Controlled Load L2 open | Log Only |  |  |  |  | TRUE
Controlled Load L2 close | Log Only |  |  |  |  | Controlled Load L2 close | Log Only |  |  |  |  | TRUE
Primary group command accepted | Log Only |  |  |  |  | Primary group command accepted | Log Only |  |  |  |  | TRUE
Primary group command rejected | Log Only |  |  |  |  | Primary group command rejected | Log Only |  |  |  |  | TRUE
Secondary group command accepted | Log Only |  |  |  |  | Secondary group command accepted | Log Only |  |  |  |  | TRUE
Secondary group command rejected | Log Only |  |  |  |  | Secondary group command rejected | Log Only |  |  |  |  | TRUE
Tertiary group command accepted | Log Only |  |  |  |  | Tertiary group command accepted | Log Only |  |  |  |  | TRUE
Tertiary group command rejected | Log Only |  |  |  |  | Tertiary group command rejected | Log Only |  |  |  |  | TRUE
Service Disconnect open due to auto-disconnect | Alarm |  |  |  |  | Service Disconnect open due to auto-disconnect | Alarm |  |  |  |  | TRUE
Service Disconnect open due to supply capacity | Alarm |  |  |  |  | Service Disconnect open due to supply capacity | Alarm |  |  |  |  | TRUE
Service Disconnect close after supply capacity timeout. | Alarm |  |  |  |  | Service Disconnect close after supply capacity timeout. | Alarm |  |  |  |  | TRUE
Controlled Load override. | Log Only |  |  |  |  | Controlled Load override. | Log Only |  |  |  |  | TRUE
Multiple events logged today | Log Only |  |  |  |  | Multiple events logged today | Log Only |  |  |  |  | TRUE
Controlled Load override timer expired. | Log Only |  |  |  |  | Controlled Load override timer expired. | Log Only |  |  |  |  | TRUE
Extended Controlled Load override for LC3 and LC4 | Log Only |  |  |  |  | Extended Controlled Load override for LC3 and LC4 | Log Only |  |  |  |  | TRUE
Controlled Load closed due to boost. | Log Only |  |  |  |  | Controlled Load closed due to boost. | Log Only |  |  |  |  | TRUE
Reprogramming | Log Only |  |  |  |  | Reprogramming | Log Only |  |  |  |  | TRUE
Scroll button pressed | Log Only |  |  |  |  | Scroll button pressed | Log Only |  |  |  |  | TRUE
Alt button pressed | Log Only |  |  |  |  | Alt button pressed | Log Only |  |  |  |  | TRUE
Boost button pressed | Log Only |  |  |  |  | Boost button pressed | Log Only |  |  |  |  | TRUE
Service Disconnect close acknowledged | Log Only |  |  |  |  | Service Disconnect close acknowledged | Log Only |  |  |  |  | TRUE
Service Disconnect open acknowledged | Log Only |  |  |  |  | Service Disconnect open acknowledged | Log Only |  |  |  |  | TRUE
Primary group command table write | Log Only |  |  |  |  | Primary group command table write | Log Only |  |  |  |  | TRUE
Secondary group command table write | Log Only |  |  |  |  | Secondary group command table write | Log Only |  |  |  |  | TRUE
Tertiary group command table write | Log Only |  |  |  |  | Tertiary group command table write | Log Only |  |  |  |  | TRUE
Failed password on login | Log Only |  |  |  |  | Failed password on login | Log Only |  |  |  |  | TRUE
Multiple failed logins | Log Only |  |  |  |  | Multiple failed logins | Log Only |  |  |  |  | TRUE
Communication lockout | Log Only |  |  |  |  | Communication lockout | Log Only |  |  |  |  | TRUE
Firmware changed | Log Only |  |  |  |  | Firmware changed | Log Only |  |  |  |  | TRUE
Master group command accepted | Log Only |  |  |  |  | Master group command accepted | Log Only |  |  |  |  | TRUE
Master group command rejected | Log Only |  |  |  |  | Master group command rejected | Log Only |  |  |  |  | TRUE
Local Parameter Change | Log Only |  |  |  |  | Local Parameter Change | Log Only |  |  |  |  | TRUE
Remote Power Fail | Log Only |  |  |  |  | Remote Power Fail | Log Only |  |  |  |  | TRUE
Communications Update | Log Only |  |  |  |  | Communications Update | Log Only |  |  |  |  | TRUE
Load Profile Status Change | Log Only |  |  |  |  | Load Profile Status Change | Log Only |  |  |  |  | TRUE
Multi Source Tamper | Log Only |  |  |  |  | Multi Source Tamper | Log Only |  |  |  |  | TRUE
Extended Load Control | Log Only |  |  |  |  | Extended Load Control | Log Only |  |  |  |  | TRUE
Ripple | Log Only |  |  |  |  | Ripple | Log Only |  |  |  |  | TRUE
Critical Table Changed | Log Only |  |  |  |  | Critical Table Changed | Log Only |  |  |  |  | TRUE
Phase Rotation | Disabled |  |  |  |  | Phase Rotation | Disabled |  |  |  |  | TRUE
Breaker Operation Fail | Log Only |  |  |  |  | Breaker Operation Fail | Log Only |  |  |  |  | TRUE
Prepayment | Log Only |  |  |  |  | Prepayment | Log Only |  |  |  |  | TRUE
Breaker State Mismatch | Log Only |  |  |  |  | Breaker State Mismatch | Log Only |  |  |  |  | TRUE
Breaker LOS | Log Only |  |  |  |  | Breaker LOS | Log Only |  |  |  |  | TRUE
Pulse Output Threshold Control | Log Only |  |  |  |  | Pulse Output Threshold Control | Log Only |  |  |  |  | TRUE
Extended Event | Log Only |  |  |  |  | Extended Event | Log Only |  |  |  |  | TRUE
TRUE
Multifunction Outputs | [5 empty] | Multifunction Outputs | [5 empty] | TRUE

## U3400-31ML3
1 | 2 | 3 | 4 | 5 | 6
U3400 Configuration Developer
Identification
Program File ID | 31MLCC1-001
TimeZone
Time Zone | (UTC+10:00) Canberra, Melbourne, Sydney
Options
Reset Password Lockout On Power Fail | TRUE
Enable Optical Priority | TRUE
Use Crystal for Time Keeping | TRUE
Metering Type | Net Metering
Total Metering | Total Phase A+B+C
Tamper Event Grace Period (minutes) | 0
Memory | Extended 1
Registers
Number of Rates
Number of Rates | 1
Energy Registers
Register | Description
Register 1 | kWh Imported Total
Register 2 | kWh Exported Total
Register 3 | kVARh Imported Total(Q1+Q2)
Register 4 | kVARh Exported Total(Q3+Q4)
Register 5 | kWh Imported Phase A
Register 6 | kWh Imported Phase B
Export Wh Warning Levels
Description | Value
Phase A | 0
Phase B | 0
Phase C | 0
Demand
Number of demand registers is zero.
TOU Settings
Switch Times
Season No. | Day Type | Time | Rate
Recurring Dates
Month | Day | Offset | Day Of Week | Action | Prev Period Read
Non-recurring Dates
Date | Action | Prev Period Read
Load Profile Configuration
Number Of Groups | 1
LP Group 1 | Load Profile Channel Description
Channel 1 | kWh Imported Total
Channel 2 | kWh Exported Total
Interval minutes | 5 Min
Storage Days | 401
Quality of Supply Configuration
QoS Group | Description | Breach Time (Seconds) | Min | Max | Max Events
Channel 1 | Voltage Phase A | 60 | 207 | 259 | 100
Channel 2 | Voltage Phase B | 60 | 207 | 259 | 100
Channel 3 | Voltage Phase C | 60 | 207 | 259 | 100
Channel 4 | Current Phase A | 60 | -40 | 100 | 100
Channel 5 | Current Phase B | 60 | -40 | 100 | 100
Channel 6 | Current Phase C | 60 | -40 | 100 | 100
Display Settings
Energy Decimal Places | 1
Suppress Leading Zeroes | TRUE
No. of Energy Digits | 7
Display Groups
Normal Display List
Scroll Time [Secs] 5
Display ID | Description
1 | Time(hh:mm ss)
2 | Date
3 | kWh Imported Total
5 | kWh Exported Total
88 | Display Test
Alternative 1 Display List
Scroll Time [Secs] 5
Display ID | Description
20 | Serial No First 7
21 | Serial No Mid 7
22 | Firmware Revision
23 | Program File ID
24 | Program File Version
25 | Hardware Revision
26 | Standard Meter Status
27 | Manufacturer Meter Status
28 | Estimated % Battery Life Remaining
Alternative 2 Display List
Scroll Time [Secs] 5
Display ID | Description
1 | Voltage Phase A
2 | Amps Phase A
3 | Voltage Phase B
4 | Amps Phase B
5 | Voltage Phase C
6 | Amps Phase C
7 | Power Factor Total
8 | Frequency
9 | Power Active Total
10 | Power Reactive Total
Relay Settings
Relay Present Mask Setting
Breaker | TRUE
Controlled Load L1 | TRUE
Controlled Load L2 | FALSE
Controlled Load L3 | FALSE
Controlled Load L4 | FALSE
Arm Setting
Connect Arm | FALSE
Disconnect Arm | FALSE
Randomisation Method | On Power Up
Breaker Arming Timeout
Timeout | 1 Hours
Group ID Setting
Primary Group ID | 20
Secondary Group ID | 200
Tertiary Group ID | 200
Breaker Maintenance Cycle
Breaker Maintenance Hour | 24
Breaker Maintenance Randomisation (Minutes) | 2
Normal Supply Capacity Control
Normal Import Demand Duration [trading intervals] | 1
Normal Import Demand Limit [kW] | 0
Normal Export Demand Duration [trading intervals] | 1
Normal Export Demand Limit [kW] | 0
Normal Supply Reclose Delay [minutes] | 30
Emergency Supply Capacity Control
Emergency Demand Duration [minutes] | 5
Emergency Demand Limit [kW] | 0
Emergency Supply Reclose Delay [minutes] | 15
TOD Import Supply Capacity Control
Monitoring Start Time [HH:MM] | 0:00
Monitoring Duration [minutes] | 5
Import Demand Duration [trading intervals] | 1
Import Demand Limit [kW] | 0
Reclose Delay [minutes] | 1
TOD Export Supply Capacity Control
Monitoring Start Time [HH:MM] | 0:00
Monitoring Duration [minutes] | 5
Export Demand Duration [trading intervals] | 1
Export Demand Limit [kW] | 0
Reclose Delay [minutes] | 1
Supply Capacity Control Initial Settings
Enable Normal SCC | FALSE
Enable Emergency SCC | FALSE
Enable TodImport SCC | FALSE
Enable TodExport SCC | FALSE
Auto Disconnect
Auto Disconnect Monitoring Period [seconds] | 5
Auto Disconnect Demand Limit [W] | 20
Auto Disconnect Breach Time [seconds] | 3
Breaker Loss of Supply
Enable Loss of Supply | FALSE
Controlled Load - General
| Ignore time table delay on power up | FALSE
Controlled Load L1 Functionalities
Loss of Supply
Support Loss of Supply | FALSE
Power Restore
Support Power Restore | FALSE
Priority Override
Support Priority Override | TRUE
Override Period (HH:MM) | 8:00
| Minimum | Maximum
Random Delay (HH:MM) | 0:00 | 0:00
Boost
Support Boost | TRUE
Boost Duration | 8 hours
Allow to stop boost by pressing boost button | TRUE
Stop boost when ESCC is enabled | TRUE
Boost Energy Redirection | Phase C
Boost Primacy Initial Command
Enable Boost Primacy | TRUE
Under Frequency Load Control (UFLC)
Support Under Frequency Load Control | FALSE
Demand Limiting Load Control (DLLC)
Support Demand Limiting Load Control | FALSE
Time Table
Support Time Table | TRUE
General Settings
| Minimum | Maximum
Random Delay (HH:MM) | 0:00 | 0:30
Default Relay Action | Open
Cycler Configuration
Cycler Type | Standard
| Minimum | Maximum
Initial Delay(T1) | 0:00 | 0:00
Close Duration(T2) | 0:01
Open Duration(T3) | 0:01
Season Switch Dates
Month | Day | Offset | Day Of Week | Action
January | 1 | No Offset |  | Season Change 0
Season 0 Normal Scheduler
Switch Table A
Switch Time | Action
7:00 | Instant Open
23:00 | Delayed Close
Applies to
Monday
Tuesday
Wednesday
Thursday
Friday
Saturday
Sunday
Switch Table B
Switch Time | Action
Applies to
Ripple
Support Ripple Control | FALSE
Prepayment
Support Prepayment | FALSE
Back End Communication
Modem | Not configured
Modem Reset Type | None
Event Settings
Event | Setting
Primary Power Down | Log Only
Primary Power Up | Log Only
Time Changed (old time used as time stamp) | Log Only
Time Changed (new time used as time stamp) | Log Only
Procedure Invoked | Log Only
Table Written To | Log Only
Reset List Pointers | Log Only
Event Log Cleared | Log Only
Season Changed | Log Only
Special Schedule Activated | Log Only
Self check error detected | Log Only
Non-volatile memory failure detected | Log Only
Measurement error detected | Log Only
Low battery detected | Log Only
Tamper attempt detected | Log Only
Phase A mains voltage loss | Log Only
Phase A mains voltage restored | Log Only
Phase B mains voltage loss | Log Only
Phase B mains voltage restored | Log Only
Phase C mains voltage loss | Log Only
Phase C mains voltage restored | Log Only
QOS threshold I breach start | Log Only
QOS threshold I breach end | Log Only
QOS threshold II breach start | Log Only
QOS threshold II breach end | Log Only
QOS threshold III breach start | Log Only
QOS threshold III breach end | Log Only
QOS threshold IV breach start | Log Only
QOS threshold IV breach end | Log Only
QOS threshold V breach start | Log Only
QOS threshold V breach end | Log Only
QOS threshold VI breach start | Log Only
QOS threshold VI breach end | Log Only
Phase A export energy detected start | Log Only
Phase A export energy detected end | Log Only
Phase B export energy detected start | Log Only
Phase B export energy detected end | Log Only
Phase C export energy detected start | Log Only
Phase C export energy detected end | Log Only
Service Disconnect open | Log Only
Service Disconnect close | Log Only
Service Disconnect armed for open | Log Only
Service Disconnect armed for close | Log Only
Controlled Load L1 open | Log Only
Controlled Load L1 close | Log Only
Controlled Load L2 open | Log Only
Controlled Load L2 close | Log Only
Primary group command accepted | Log Only
Primary group command rejected | Log Only
Secondary group command accepted | Log Only
Secondary group command rejected | Log Only
Tertiary group command accepted | Log Only
Tertiary group command rejected | Log Only
Service Disconnect open due to auto-disconnect | Alarm
Service Disconnect open due to supply capacity | Alarm
Service Disconnect close after supply capacity timeout. | Alarm
Controlled Load override. | Log Only
Multiple events logged today | Log Only
Controlled Load override timer expired. | Log Only
Extended Controlled Load override for LC3 and LC4 | Log Only
Controlled Load closed due to boost. | Log Only
Reprogramming | Log Only
Scroll button pressed | Log Only
Alt button pressed | Log Only
Boost button pressed | Log Only
Service Disconnect close acknowledged | Log Only
Service Disconnect open acknowledged | Log Only
Primary group command table write | Log Only
Secondary group command table write | Log Only
Tertiary group command table write | Log Only
Failed password on login | Log Only
Multiple failed logins | Log Only
Communication lockout | Log Only
Firmware changed | Log Only
Master group command accepted | Log Only
Master group command rejected | Log Only
Local Parameter Change | Log Only
Remote Power Fail | Log Only
Communications Update | Log Only
Load Profile Status Change | Log Only
Multi Source Tamper | Log Only
Extended Load Control | Log Only
Ripple | Log Only
Critical Table Changed | Log Only
Phase Rotation | Disabled
Breaker Operation Fail | Log Only
Prepayment | Log Only
Breaker State Mismatch | Log Only
Breaker LOS | Log Only
Pulse Output Threshold Control | Log Only
Extended Event | Log Only
Multifunction Outputs