MUT:1399311

CLEM: FPh710E

Operational State is Active

Auto-disconnect is Enabled in Meter tariff

Switch is disconnected via UIQ

Auto-disconnect settings disabled via arbitrary command

Response for Arbitrary write (to Disabled Auto-disconnect setting)

Auto-disconnect settings in the meter (after write command)

Connect command issued via UIQ with a load connected (greater than auto-disconnect threshold) to it.

Waited for 30 secs (active time for Auto-disconnect). Meter did not got disconnected due to Auto-disconnect.

Auto-disconnect settings Enabled via arbitrary command

Response for Arbitrary write (to Disabled Auto-disconnect setting)

Auto-disconnect settings read back again after write command

Test-Pas